## Slide 1: Enabling Technologies for Robot Assisted Ultrasound Tomography
Team Members: Rishabh Khurana , Fereshteh Aalamifar
Mentors: Emad Boctor, Iulian Iordachita, Russell Taylor
Group 11
Checkpoint Presentation 1
Notes: R

## Slide 2: Summary & Goal
Design a prototype that uses a robot controlled ultrasound probe to follow the motion of the free hand probe that can be used for Ultrasound Tomography.
Project Summary
Progress till now
Timeline
Remained Tasks
Plan
Robotic Arm
Passive Arm
Control Software
Ref coordinate
Notes: R

## Slide 3: Mock Probe Prototype
Designed CAD file and manufactured the mock probe
Redesigned and manufactured finalized mock probes
Manufacture
Design
Correction
Corrected part
Real Probe
Project Summary
Progress till now
Timeline
Remained Tasks
Plan
First design
corrected
Notes: R

## Slide 4: MicronTracker Training
Acquired, installed, and tested MicronTraker
Practiced Field of measurement (FOM)
Learnt Markers design
Rigid body design
Micron Markers
Copyright: Claron Inc.
Initial Probe Holder
Project Summary
Progress till now
Timeline
Remained Tasks
Plan
MicronTracker FOM
Notes: R

## Slide 5: Tracker on top or on robot arm?
  Criteria:
  1. Workspace limitation (present when tracker on top): Tracker FOM limited -> have to determine an area as workspace -> system cannot operate outside this area
Project Summary
Progress till now
Timeline
Remained Tasks
Plan
Workspace limitation
phantom
Notes: F

## Slide 6: Tracker on top or on robot arm?
  Criteria:
  2. Tomographic image(present when tracker on robot arm):
  Truncated tomography:
  in CT, usually, field of view is larger than the organ
  in US, usually, field of view is smaller than the organ
  If we can capture edge of the organ by a camera, we can compensate for truncated tomography
Project Summary
Progress till now
Timeline
Remained Tasks
Plan
phantom
phantom
US: truncated tomography
X-ray source
CT Gantry
CT Scan: Complete tomography
phantom
Notes: F

## Slide 7: Tracker on top or on robot arm?
  Criteria 3. Line of sight (LOS) Problem (present when tracker on robot arm):
Project Summary
Progress till now
Timeline
Remained Tasks
Plan
phantom
Remember rigid body design
Now assume:
  Xpoint diameter is 2.4cm and it faces camera, then:
    We know: Sx60 FOM: 115x70x55 cm
  maximum cylinder diameter is 30 cm
  Probe is always in range
Notes: F

## Slide 8: Tracker on top or on robot arm?
  Criteria 3. Line of sight (LOS) Problem:
Project Summary
Progress till now
Timeline
Remained Tasks
Plan
3D view
Micron FOM
Problem: Cylinder is obstructing the FOM!
Micron Camera
Phantom
Notes: F

## Slide 9: Tracker on top or on robot arm?
Project Summary
Progress till now
Timeline
Remained Tasks
Plan
Position of tracker | Top of workspace | On robot arm
No workspace limitation | x | √
Tomographic image | x | √
No line of sight problem | √ | x
Line of sight problem:
Approach 1: Use another tracker that does not have LOS problem
Approach 2: Put camera and markers in a different position
Notes: R

## Slide 10: Which type of tracking system?
Project Summary
Progress till now
Timeline
Remained Tasks
Plan
Type of tracker | Electromagnetic | Optical
No line of sight problem | √ | x
No metal restriction | x | √
Tomographic image | x | √
Available and have training | x | √
Electromagnetic vs. Optical
Notes: R

## Slide 11: Solution to LOS Problem
Diameter: 30 cm
FOM: Sx60 115 x 70 x 55 cm
Camera: Horizontally mounted
Camera’s angle: 17 degrees
Camera
Marker
FOM
Project Summary
Progress till now
Timeline
Remained Tasks
Plan
Notes: F

## Slide 12: Tracker Rigid Body
Design
Manufacture
Correction
Project Summary
Progress till now
Timeline
Remained Tasks
Plan
Notes: F

## Slide 13: End-Effector
Project Summary
Progress till now
Timeline
Remained Tasks
Plan
Notes: F

## Slide 14: Robot Training
Done:
  Installed Simulator
  Worked with codes: cisst, saw, robotserver, simulator, …
  Implemented calculating tracking code
In progress:
  Code development
  Working with real robot
  Considering safety issues
  Understanding tolerable torque, weight, …
  Understanding motion, DOFs, velocity, …
Project Summary
Progress till now
Timeline
Remained Tasks
Plan
Notes: R

## Slide 15: Project Timeline
Project Summary
Progress till now
Timeline
Remained Tasks
Plan
Notes: R

## Slide 16: Sources of Delay
EmTracker or Micron
Had to change PC
Simulator installation problem
Additional tasks came up
Exams!
Etc.
Project Summary
Progress till now
Timeline
Remained Tasks
Plan
Notes: R

## Slide 17: Tasks List
End effector (2 weeks)
Robot training (2 weeks)
Code and calculations implementation (2 weeks)
Calibrations (3 weeks)
Phantom and ultrasound imaging (1 week)
B-Mode & EPT (1 week)
Project Summary
Progress till now
Timeline
Remained Tasks
Plan
Notes: F

## Slide 18: Management Plan
Fereshteh:
  End effector (Apr. 2)
  US Calibrations (Apr. 16)
  Phantom and ultrasound imaging (Apr. 23)
Rishabh:
  Code and calculations implementation (Apr. 3)
  Tracker – Robot calibration (Apr. 10)
  Robot training (Apr. 24)
Together
  B-Mode & EPT (Apr. 29)
Project Summary
Progress till now
Timeline
Remained Tasks
Plan
Notes: F

## Slide 19: New Timeline
Week Starting with | Responsible | Mar. 25 | Apr. 1 | Apr. 8 | Apr. 15 | Apr. 22 | Apr. 29 | May 6
End effector | Fereshteh |  |  |  |  |  |  | 
Code & calculation implementation | Rishabh |  |  |  |  |  |  | 
Tracker-robot calibration | Rishabh |  |  |  |  |  |  | 
US calibrations | Fereshteh |  |  |  |  |  |  | 
Phantom & Ultrasound machine | Fereshteh |  |  |  |  |  |  | 
Robot training | Rishabh |  |  |  |  |  |  | 
EPT & Bmode investigation | Together |  |  |  |  |  |  | 
Final Documentation | Together |  |  |  |  |  |  | 
Project Summary
Progress till now
Timeline
Remained Tasks
Plan
Notes: F

## Slide 20: Thanks!
Questions?