## Slide 1: Enabling Technologies for Robot Assisted Ultrasound Tomography
Team Members: Rishabh Khurana , Fereshteh Aalamifar
Mentors: Emad Boctor, Iulian Iordachita, Russell Taylor
Group 11
Checkpoint Presentation 2
Notes: R

## Slide 2: Summary & Goal
Design a prototype that uses a robot controlled ultrasound probe to follow the motion of the free hand probe that can be used for Ultrasound Tomography.
Project Summary
Deliverables
Progress
Timeline Milestones
Dependencies
Notes: R

## Slide 3: Project Block Diagram
Project Summary
Deliverables
Progress
Timeline Milestones
Dependencies
IEEE 1394 PCI
Computer
MicronTracker
Robodoc
Robotic probe
Robot side components
Freehand probe
Freehand marker
Freehand side components
Robot server
Interface
Cisst/saw
Tracker API
Software components
Tissue
Notes: R

## Slide 4: Deliverables
Minimum Deliverables: (Expected by April 1)
  A robotic arm should follow the position of a mock ultrasound probe attached to a passive arm, on the other side of a cylinder, using optical tracking system
Expected Deliverables: (Expected by April 22)
  Build a transparent cylindrical phantom
  The mock probes should be replaced with real ones.
  Real data should be collected.
  Study EPT and B-Mode. This should be thoroughly investigated.
Maximum Deliverables: (Expected by May 6)
  Implement EPT or B-Mode and conduct its accuracy study.
  Real images shall be collected and reconstructed on a PC to display real-time ultrasound images.
Project Summary
Deliverables
Progress
Timeline Milestones
Dependencies
Notes: Previous set of deliverables

## Slide 5: Deliverables
Minimum Deliverables:
  US calibration, hand-eye calibration
  A mock probe attached to a robotic arm following the position of a freehand mock ultrasound probe attached to a passive arm, on the other side of a cylinder, using optical tracking system
Expected Deliverables:
  Build a transparent cylindrical phantom
  The mock probes should be replaced with real ones.(combined with minimum)
  Real data should be collected. (Real time US images seen on the screen)
  Study EPT and B-Mode. This should be thoroughly investigated.
Maximum Deliverables:
  Implement EPT or B-Mode and conduct its accuracy study.
  Real images shall be collected and reconstructed on a PC to display real-time ultrasound images.
Project Summary
Deliverables
Progress
Timeline Milestones
Dependencies

## Slide 6: Deliverables
Minimum Deliverables:
  US calibration, hand-eye calibration
  A mock probe attached to a robotic arm following the position of a freehand ultrasound probe on the other side of a cylinder, using optical tracking system
Expected Deliverables:
  Real time US images seen on the screen.
  Study EPT and B-Mode. This should be thoroughly investigated.
Maximum Deliverables:
  Implement B-Mode and conduct its accuracy study.
Project Summary
Deliverables
Progress
Timeline Milestones
Dependencies

## Slide 7: US calibration
Project Summary
Deliverables
Progress
Timeline Milestones
Dependencies
Robot
Endeffector
T1
T2
Freehand Probe
Require two ultrasound (US) calibrations T1 and T2
Notes: F

## Slide 8: US calibration
Project Summary
Deliverables
Progress
Timeline Milestones
Dependencies
Notes: F

## Slide 9: US calibration
Sharp pointer
Calibrated using TTblock
Project Summary
Deliverables
Progress
Timeline Milestones
Dependencies
Notes: F

## Slide 10: US calibration
Results and US images and remained work
Project Summary
Deliverables
Progress
Timeline Milestones
Dependencies
Notes: F

## Slide 11: Mock US calibration
Needed T2 but did not have US probe:
  Used a cardboard with known points
Project Summary
Deliverables
Progress
Timeline Milestones
Dependencies
T2
Notes: F

## Slide 12: Hand-eye calibration
Project Summary
Deliverables
Progress
Timeline Milestones
Dependencies
Notes: F

## Slide 14: Code implementation flowchart
Project Summary
Deliverables
Progress
Timeline Milestones
Dependencies
Notes: F

## Slide 15: Preliminary experiment
Project Summary
Deliverables
Progress
Timeline Milestones
Dependencies
Notes: F

## Slide 16: Transformation Diagram
Project Summary
Deliverables
Progress
Timeline Milestones
Dependencies
Notes: F

## Slide 17: Milestones
  Previously:
  End effector (Apr. 2)
  Code and calculations implementation (Apr. 3)
  Tracker – Robot calibration (Apr. 10)
  US Calibrations (Apr. 16)
  Phantom and ultrasound imaging (Apr. 23)
  Robot training (Apr. 24)
  B-Mode & EPT (Apr. 29)
  Current: (by May 6th )
  Accuracy study of calibrations
  EPT study
Project Summary
Deliverables
Progress
Timeline Milestones
Dependencies
Done
In progress
Done
Done
In progress
Done
In progress
Notes: Here is the list of milestones we presented in our previous checkpoint presentation. The in progress ones are expected to be done by the end of this week.

## Slide 18: Timeline
Week Starting with | Responsible | Mar. 25 | Apr. 1 | Apr. 8 | Apr. 15 | Apr. 22 | Apr. 29 | May 6
End effector | Fereshteh |  |  |  |  |  |  | 
Code & calculation implementation | Rishabh |  |  |  |  |  |  | 
Tracker-robot calibration | Rishabh |  |  |  |  |  |  | 
US calibrations | Fereshteh |  |  |  |  |  |  | 
Phantom & Ultrasound machine | Fereshteh |  |  |  |  |  |  | 
Robot training | Rishabh |  |  |  |  |  |  | 
EPT & Bmode investigation | Together |  |  |  |  |  |  | 
Final Documentation | Together |  |  |  |  |  |  | 
Project Summary
Deliverables
Progress
Timeline Milestones
Dependencies
Notes: This is the timeline we showed in our previous checkpoint presentation

## Slide 19: Timeline
Week Starting with | Responsible | Mar. 25 | Apr. 1 | Apr. 8 | Apr. 15 | Apr. 22 | Apr. 29 | May 6
End effector | Fereshteh |  |  |  |  |  |  | 
Code & calculation implementation | Rishabh |  |  |  |  |  |  | 
Tracker-robot calibration | Rishabh |  |  |  |  |  |  | 
US calibrations | Fereshteh |  |  |  |  |  |  | 
Phantom & Ultrasound machine | Fereshteh |  |  |  |  |  |  | 
Robot training | Rishabh |  |  |  |  |  |  | 
EPT & Bmode investigation | Together |  |  |  |  |  |  | 
Final Documentation | Together |  |  |  |  |  |  | 
Project Summary
Deliverables
Progress
Timeline Milestones
Dependencies
Delayed
Delayed
On Track
Notes: Those shown in yellow have been delayed and are planned to be done by May 6th.

## Slide 20: Dependencies
 | Dependency | Plan/Source | Status/Comments | Not met?
Phase 1 | 5 DOF robot and training | Robodoc/ Min Yung | Resolved | 
 | Mock ultrasound probes | Rapid prototyping | Resolved | 
 | PC or laptop | Provided by Prof. Iordachita | Resolved | 
 | Optical tracking system | Micron Tracker by Prof. Boctor | Not resolved | Used Prof. Kazanzides’s tracker
 | Cylindrical solid phantom | Acquired | Resolved | 
 | Mechanical designs & interfacing robot wrist to probe | Prof. Iordachita if we cannot handle | Resolved | 
 | Required wires/ cables/ tools | Prof. Iordachita lab | Resolved | 
 | Matlab, Visual Studio | Requested | Resolved | 
 | Weekly meeting with mentors | Arrange via email | Resolved | 
Project Summary
Deliverables
Progress
Timeline Milestones
Dependencies
Notes: r

## Slide 21: Dependencies
 | Dependency | Plan/Source | Status/Comments | Not met?
Phase 2 | Ultrasound machine & probes | Provided by Prof. Boctor | Not resolved | Only used one US probe
 | Ultrasound physics and images | Prof. Boctor | Resolved | 
Phase 3 | Transmitter, receiver and processing units | From Profs Iordachita and Boctor internal funds | Was not requested | Maximum not met
 | Ultrasound imaging reconstruction resources | Provided by Prof. Boctor | Was not requested | Maximum not met
Project Summary
Deliverables
Progress
Timeline Milestones
Dependencies
Notes: r

## Slide 22: Thanks!
Questions?

## Slide 23: Timeline
Project Summary
Deliverables
Progress
Timeline Milestones
Dependencies
Done
Done
Delayed
Delayed
Delayed
Done
On track
Notes: This is the timeline we showed in our previous checkpoint presentation