## Slide 1: Enabling Technologies for Robot Assisted Ultrasound Tomography
Team Members: Rishabh Khurana , Fereshteh Aalamifar
Mentors: Emad Boctor, Iulian Iordachita, Russell Taylor
Group 11
Notes: F

## Slide 2: Table of Contents
Motivation & Goal
Technical Approach
Deliverables
Timeline
Dependencies & Plans
Summary & Goal
Motivation
Technical Approach
Deliverables
Timeline
Dependencies
Management Plan
Reading List
Notes: F

## Slide 3: Motivation
Motivation & Goal
Technical Approach
Deliverables
Timeline
Dependencies & Plans
 | CT | Ultrasound
Cost | $1200-$3200 | $100-$1000
Imaged structure | Bony structures | Soft or internal organs
Radiation exposure | 2-10 msv | None
Weight | 2000 kg (1000 mm diameter x 5000 mm long) | > 5 Kg
Scan time | 30 secs | 10-15 min
Ultrasound vs. CT
Ref: http://www.diffen.com/difference/CT_Scan_vs_Ultrasound
http://www.dimensionsinfo.com/how-big-is-a-ct-scanner/
http://www.absolutemed.com/Medical-Equipment/Ultrasound-Machines/GE-Vivid-e-Portable-Ultrasound-Machine
Notes: R

## Slide 4: Summary & goal
Ultrasound (US) penetration: 10-15 cm
Thick tissues or obese patients?
US waves can not travel through air
Human operated probe + Robotic probe
Goal:
Higher imaging depth
Faster scan
Ultimately: US tomography
Motivation & Goal
Technical Approach
Deliverables
Timeline
Dependencies & Plans
Notes: F

## Slide 5: Motivation
Motivation & Goal
Technical Approach
Deliverables
Timeline
Dependencies & Plans
An US Tomography Example:
Full Angle Breast Cancer Imaging
Ultrasound data from all viewing angles around the cancerous breast (360 degrees)
Ref: Christian Hansen et. all, “Ultrasound Breast Imaging using Full Angle Spatial Compounding: In-vivo results,” IEEE International Ultrasonics Symposium Proceedings, 2008.
Notes: R

## Slide 6: Motivation
Motivation & Goal
Technical Approach
Deliverables
Timeline
Dependencies & Plans
US Tomography in mid 20th century
  soon were retired or some were never used because:
    Lie in a pool of water
    Not so good US image quality
    Penetration limited to 10-15 cm
    sonographer did not have enough control
Today:
  Better quality US images and faster processors
  Our system enables US tomography which:
    - does not require the use of the pool of water
    - can cover higher imaging depth
    - directly controlled by sonographer
Notes: R

## Slide 7: Technical Approach
Summary:
  Optical Tracker (MicronTracker):
    Light weight & Easy installation
    Low cost
    Passive markers
  Robot (Robodoc): 5DOF
  Passive arm instead of human probe
  Cylindrical phantom
Motivation & Goal
Technical Approach
Deliverables
Timeline
Dependencies & Plans
Copyright: hyundaiengineering.blogspot
Copyright: Claron Inc.
Notes: F

## Slide 8: Technical Approach
Schematic
  Control Software
  Robot to Tracker Calibration
  Robot to US calibration
  Probe Tip Calibration
  Tracking loops
Motivation & Goal
Technical Approach
Deliverables
Timeline
Dependencies & Plans
Robotic Arm
Passive Arm
Control Software
Ref coordinate
Notes: F

## Slide 9: Technical Approach
Control Software
Motivation & Goal
Technical Approach
Deliverables
Timeline
Dependencies & Plans
Robotic Arm
Passive Arm
Control Software
Ref coordinate
Registration
Get 6D pose of freehand probe
Calculate robotic probe’s desired pose
Transform it to robot coordinate system
Get robot probe’s position
Calculate kinematics
Command robot controller
Notes: F

## Slide 10: Technical Approach
Schematic
Motivation & Goal
Technical Approach
Deliverables
Timeline
Dependencies & Plans
Robotic Arm
Passive Arm
Control Software
Ref coordinate
Registration
TRO
TR
To
TRO = inverse(TO) . TR
Robot end effector
& OPT Marker
Registration:
Robot
Optical Tracker
Notes: R

## Slide 11: Technical Approach
Probe tip calibration
Motivation & Goal
Technical Approach
Deliverables
Timeline
Dependencies & Plans
Robotic Arm
Passive Arm
Control Software
Ref coordinate
Notes: R

## Slide 12: Technical Approach
Energy Profile Tracking (EPT)
B-Mode Tracking
Motivation & Goal
Technical Approach
Deliverables
Timeline
Dependencies & Plans
Aligned
Not Aligned
Notes: R

## Slide 13: Deliverables
Minimum Deliverables: (Expected by April 1)
  A robotic arm should follow the position of a mock ultrasound probe attached to a passive arm, on the other side of a cylinder, using optical tracking system
Motivation & Goal
Technical Approach
Deliverables
Timeline
Dependencies & Plans
Notes: F

## Slide 14: Deliverables
Expected Deliverables: (Expected by April 22)
  Build a transparent cylindrical phantom
  The mock probes should be replaced with real ones.
  Real data should be collected.
  Study EPT and B-Mode. This should be thoroughly investigated.
Motivation & Goal
Technical Approach
Deliverables
Timeline
Dependencies & Plans
Notes: F

## Slide 15: Deliverables
Maximum Deliverables: (Expected by May 6)
  Implement EPT or B-Mode and conduct its accuracy study.
  Real images shall be collected and reconstructed on a PC to display real-time ultrasound images.
Motivation & Goal
Technical Approach
Deliverables
Timeline
Dependencies & Plans
Notes: F

## Slide 16: Deliverables
Future Directions:
  More advanced reconstruction algorithms
  Force sensors
  Determine shape of the tissue
  Irregular Phantoms
Motivation & Goal
Technical Approach
Deliverables
Timeline
Dependencies & Plans
Notes: F

## Slide 17: Project Timeline
Motivation & Goal
Technical Approach
Deliverables
Timeline
Dependencies & Plans
Notes: R

## Slide 18: Dependencies Phase 1
Motivation & Goal
Technical Approach
Deliverables
Timeline
Dependencies & Plans
 | Dependency | Plan/Source | Status/Comments | Not met? | Due
Phase 1 | 5 DOF robot and training | Robodoc/ Min Yung | In process | Learn ourselves | Mar 4
 | Mock ultrasound probes | Rapid prototyping | Done with CAD/ have to print | Project will be delayed | Feb 22
 | PC or laptop | Provided by Prof. Iordachita | Acquired | Project will be delayed | Feb 11
 | Optical tracking system | Micron Tracker by Prof. Boctor | -Order in process -Using Prof. Kazanzides’s tracker in the mean time | Use Dr. Kazanzides OPT! | Feb 28
 | Cylindrical solid phantom | Acquired | Will get transparent one | Build ourselves | Mar 30
 | Mechanical designs & interfacing robot wrist to probe | Prof. Iordachita if we cannot handle | Talked to Prof. Iulian | Project will be delayed | Mar 15
Notes: r

## Slide 19: Dependencies Phase 1
Motivation & Goal
Technical Approach
Deliverables
Timeline
Dependencies & Plans
 | Dependency | Plan/Source | Status/Comments | Not met? | Due
Phase 1 | Required wires/ cables/ tools | Prof. Iordachita lab | Or from Profs Iordachita and Boctor internal funds | Project will be delayed | TBD
 | Matlab Visual Studio | Requested | In progress | Contact technical support | Feb 28
 | Weekly meeting with mentors | Arrange via email | In progress | Project will be delayed | Feb 28
Notes: R

## Slide 20: Dependencies Phase 2
Motivation & Goal
Technical Approach
Deliverables
Timeline
Dependencies & Plans
 | Dependency | Plan/Source | Status/Comments | Not met? | Due
Phase 2 | Ultrasound machine & probes | Provided by Prof. Boctor | Considered 2 in Dr. Boctor’s lab One probe available and the other order in progress | Expected deliverables will be delayed | Apr 1
 | Ultrasound physics and images | Prof. Boctor | We rely on Dr. Boctor on ultrasound technical information | Investigate | Apr 1
Notes: R

## Slide 21: Dependencies Phase 3
Motivation & Goal
Technical Approach
Deliverables
Timeline
Dependencies & Plans
 | Dependency | Plan/Source | Status/Comments | Not met? | Due
Phase 3 | Transmitter, receiver and processing units | From Profs Iordachita and Boctor internal funds | Upon necessity | Maximum not met | Apr 22
 | Ultrasound imaging reconstruction resources | Provided by Prof. Boctor | Upon necessity | Maximum not met | Apr 22
Notes: r

## Slide 22: Management plan
Spend average of 15-18 hours/team member/week
Assigned Monday, Tuesday, Wednesday, and Thursday as “working on project days”
Will try to maximize the “working together” time on these days
Have weekly meeting with mentors
Have assigned responsibilities to each person
but will do most of the work together and help each other =>
  both of us will learn the most from this project.
Motivation & Goal
Technical Approach
Deliverables
Timeline
Dependencies & Plans
Notes: F

## Slide 23: Reading list
Ultrasound Calibration
[1] J. D. Achenbach., “Wave Propagation in Elastic Solids,” volume 16 of North-Holland series in applied mathematics and mechanics, North-Holland, 1973.
[2] D. V. Amin, et al, “Calibration method for determining the physical location of the ultrasound image plane. In Proceedings of the fourth International Conference on Medical Image Computing and Computer-Assisted Intervention,” Lecture Notes in Computer Science, volume 2208, pages 940-947. Springer-Verlag, 2001.
[3] K. S. Arun, T. S. Huang, and S. D. Blostein, “Least-squares fitting of two 3-D point,” IEEE Transactions on Pattern Analysis and Machine Intelligence, 9(5):698-700, 1987.
[4] L. G. Bouchet, et al, “Calibration of three-dimensional ultrasound images for image-guided radiation therapy,” Physics in Medicine and Biology, 46:559-577, 2001.
[5] M. Burcher, “A force-based method for correcting deformation in ultrasound images of the breat,” PhD thesis, University of Oxford, Oxford, United Kingdom, 2002.
[6] R. M. Comeau, A. Fenster, and T. M. Peters, “Integrated MR and ultrasound imaging for improved image guidance in neurosurgery,” In Proceedings of SPIE, volume 3338, pages 747-754, 1998.
[7] S. Dandekar, Y. Li, J. Molloy, and J. Hossack, “A phantom with reduced complexity for spatial 3-D ultrasound calibration,” Ultrasound in Medicine & Biology, 31(8):1083-093, 2005.

## Slide 24: Reading list
Ultrasound Tomography
[1] Christian Hansen et. all, “Ultrasound Breast Imaging using Full Angle Spatial Compounding: In-vivo results,” IEEE International Ultrasonics Symposium Proceedings, 2008.
[2] T.S. Kim, S.H. Do, V.Z. Marmarelis, “Multi-band Tissue Differentiation in Ultrasonic Transmission Tomography,” Ultrasonic Imaging and Signal Processing, Medical Imaging (SPIE), 2003.
[3] V.Z. Marmarelis, T.S. Kim, R. E. N. Shehada, “High Resolution Ultrasonic Transmission Tomography,” Ultrasonic Imaging and Signal Processing, Medical Imaging (SPIE), 2003.
[4] U. M. Hamper, M. R. DeJong, L. M. Scoutt, “Ultrasound Evaluation of the Lower Extremity Veins,” Radiol Clin N Am Elsevier, 2007, pp. 525–547.
[5] X. Pan, Y. Zou, and M. A. Anastasio, “Data Redundancy and Reduced-Scan Reconstruction in Reflectivity Tomography,” IEEE Transactions on Image Processing, Vol. 12, No. 7, Jul. 2003, pp. 774-795.
[6] David Gillespie, and Carolyn Glass, “Importance of Ultrasound Evaluation in the Diagnosis of Venous Insufficiency: Guidelines and Techniques,” Elsevier Seminars in Vascular Surgery, 2010, pp. 85-89.
Optical Tracking System
[1] Claron optical tracking system manual

## Slide 25: Reading list
Hand-eye calibration
[1] Y. Shiu, S. Ahmad, “Calibration of Wrist-Mounted Robotic Sensors by Solving Homogeneous Transform Equations of the Form AX=XB,” IEEE Transactions on robotics and automation, Vol. 5, No. 1, Feb. 1989
[2] K. Daniilidis, “Hand-Eye Calibration Using Dual Quaternions,” The International Journal of Robotics Research, Vol. 18, No. 3, March 1999, pp. 286-298.
Robotic Ultrasound Technology
[1] Pezhman Foroughi, “Tracked Ultrasound Elastography,” Johns Hopkins Universiy PhD Thesis, June 2012.
[2] S. E. Salcudean, et. al, “Robot-Assisted Diagnostic Ultrasound – Design and Feasibility Experiments,” Medical Image Computing and Computer-Assisted Intervention – MICCAI’99 Lecture Notes in Computer Science Volume 1679, 1999, pp 1062-1071.
[3] Purang Abolmaesumi, et. al, “Image-Guided Control of a Robot for Medical Ultrasound,” IEEE Transactions on Robotics and Automation, Vol. 18, No. 1, Feb. 2002, pp. 11-23.
Robotics
CIS I Lectures
[0] Fundamentals of serial robots
[1] Denevit Heartenburg and Jacobian matrix derivation
[2] Robot’s manual and tutorials
[3] Kinematics and inverse kinematics

## Slide 26: Thanks!
Questions?