## Slide 1: Tracheoesophageal Prosthesis Insufflator Checkpoint Presentation II Computer Integrated Surgery II, Project 13
Kevin Liu
Johns Hopkins University
May 2nd, 2013
Mentors: Dr. Russell H. Taylor, Dr. Jeremy Richmon

## Slide 2
Overview
-- Summary
-- Status of Deliverables
-- Progress
-- Updated Schedule
-- Status on Dependencies
-- Questions

## Slide 3
Project Mission
- Develop a portable insufflator that will deliver air through the TEP so that patient can circumvent direct blockage of stoma

## Slide 4
CAD/Pad sketch of components: Done/Done
Rough prototype of insufflator: Done
Improved prototype with custom-built parts: Delayed to 5/6
Testing of device: Delayed
Polish into sell-able condition: On track
World domination: Silly Idea
Minimum
Expected
Maximum
Deliverables: Status

## Slide 5
Progress: RP Parts
TEP chamber
Silicone hose

## Slide 6
Progress: RP Parts
Quick-Detach: Separated
Quick-Detach: Cross Section
Female: To CO2
Male: To TEP
Red: Male End
Twist Male CW to lock

## Slide 7
Progress: TEP Device
CO2 source/Trigger
Pressure Regulator Valve
Medical-Grade Silicone Tubing
CO2 source assembly

## Slide 8
Progress: TEP Device
Video

## Slide 9
Progress: TEP Device
Unexpected Encounters:
AIRTIGHT SEALS: Air will find path of least resistance, which is usually the joints, and leak
CANISTER LIFE SPAN: A single 16g CO2 cartridge lasts shorter than expected. Begin debate of bigger canister against portability.
PUSH BUTTON VALVE: May need to be circumvented due to above reason
PRESSURE VALUES: According to Dr. Richmon, pressure through TEP is ~20 mmH2O, or ~0.3 PSI. Smallest found commercial valve is 0-5 PSI.

## Slide 10
Previous Schedule
Chart: 
| Design Sketch | Material Acquisition | Initial Prototype | Rapid Prototyping | Testing | Revisions
 | 41333 | 41341 | 41346 | 41361 | 41372 | 41379 | 41399
 | 8 | 5 | 15 | 11 | 7 | 20

## Slide 11
Revised Schedule

## Slide 12
Final Schedule

## Slide 13
Dependencies
Dependency | Reason for dependency | Impact | Resolution | Alternative
TEP device | Output tubing interface | No interface | Resolved | N/A
Rapid Prototyping | Costs, qualifications | Less streamlined design | Expected 5/6 | Do without
Voluntary Patient testing | Ethics | Cannot test device | Considering Alternative | Perform on model

## Slide 14
Questions?
Be even more gentle.