## Slide 1: Constructing a Model of the Cochlea From OCT Images
Students: Paul Wilkening and Emily Daggett
Mentors: Russell Taylor and Jin Kang
Notes: Paul

## Slide 2: Presentation Outline
Overview
Project Goals
Technical Summary
Project Management
Bibliography
Project Goals
Technical Summary
Project Management
Bibliography
Overview
Notes: Emily

## Slide 3
Project Goals
Technical Summary
Project Management
Bibliography
Overview
Photo Credit: NIH
How does the cochlea work?
Parts of a cochlear implant
How do cochlear implants correct hearing loss?
Photo Credit: Kratchman et al.
External parts of system
  Microphone
  Speech Processor
  Transmitter
Internal System
  Receiver/stimulator
  Electrode array
Notes: Emily

## Slide 4
Photo Credit: Paul Wilkening
Project Goals
Technical Summary
Project Management
Bibliography
Overview
Standard practice for cochlear implant electrode array insertion
Problems with standard practice
  Visibility
  Required precision
  Sensitivity of cochlea
  Hand tremor
Our Project Goal
Notes: Paul -
Emily – our goal to solve problems through imaging to solve the visibility problem, increased precision, tremor reduction

## Slide 5
Photo Credit: Paul Wilkening
Project Goals
Technical Summary
Project Management
Bibliography
Overview
Overview of robot-assisted surgical system
  EyeRobot2
  Stereo Microscope
  Monitor
  Surgical Workstation Computer
    CISST & eyeSAW Libraries
Image cochlea in 2 ways (OCT)
  What is OCT?
  Side-viewing Probe
  Bulk Scanner
Create a Model
Create Virtual Fixtures Based on Model
Notes: Paul – overview of system up to OCT
Emily – 2 different types of OCT imaging, what are virtual fixtures (imaginary boundaries that constrain the motion of the robot)

## Slide 6
Photo Credit: Berk Gonenc
Project Goals
Technical Summary
Project Management
Bibliography
Overview
Side-viewing Probe
Probe mounted to robot
Parts
  Motor
  Trocars
  Stainless Steel Tube
  Glass Fiber
  Infrared laser
How it works
  A-Scans
  B-Scans
Confidential
Notes: Emily – thousands of A-Scans per B-Scan

## Slide 7
Photo Credit: Saumya Gurbani
Project Goals
Technical Summary
Project Management
Bibliography
Overview
Side-view Probe Data
Pulse from robot
Contour data from B-scans
Multiple B-scans at different depths into the cochlea
  Model
  Virtual Fixture
Notes: Paul

## Slide 8
Photo Credit: Emily Daggett
Project Goals
Technical Summary
Project Management
Bibliography
Overview
Bulk Scanner
Scanner mounted to robot
How it works
  A-Scans
  B-Scans
  Volumes
Confidential
Notes: Emily – volumes 50mm below lens (5x5x5)

## Slide 9
Photo Credit: Mingtao Zhao
Project Goals
Technical Summary
Project Management
Bibliography
Overview
Bulk Scanner Data
Volumes stitched together
  Model
  Basal turn identified
  Virtual Fixture
Notes: Paul – combined model

## Slide 10: Project Management
Deliverables
Project Goals
Technical Summary
Project Management
Bibliography
Overview
Notes: Talk about combined model

## Slide 11: Project Management
Dependencies
Project Goals
Technical Summary
Project Management
Bibliography
Overview

## Slide 12: Project Management
Project Goals
Technical Summary
Project Management
Bibliography
Overview

## Slide 13: Project Management
Project Goals
Technical Summary
Project Management
Bibliography
Overview

## Slide 14: Bibliography
Coulson, C. J., Reid, A. P., Proops, D. W., & Brett, P. N. (2007). ENT challenges at the small scall. The International Journal of Medical Robotics and Computer Assisted Surgery, (3), 91-96.
Kavanaugh, K. T. (1994). Applications of image-directed robotics in otolaryngologic surgery. The Laryngoscope, (104), 283-293.
Kratchman, L. B., Schurzig, D., McRackan, T. R., Balachandran, R., Noble, J. H., Webster, R. J. I., & Labadie, R. F. (2012). A manually operated, advance off-stylet insertion tool for minimally invasive cochlear implant surgery. IEEE Transactions on Biomedical Engineering, 59(10), 2792-2800.
Lin, J., Staecker, H., & Jafri, M. S. (2008). Optical coherence tomography imaging of the inner ear: A feasibility study with implications for cochlear implantation. Annals of Otology, Rhinology & Laryngology, 117(5), 341-346.
Majdani, O., Rau, T. S., Baron, S., Eilers, H., Baier, C., Heimann, B., . . . Leinung, M. (2009). A robot-guided minimally invasive approach for cochlear implant surgery: Preliminary results of a temporal bone study. International Journal of Computer Assisted Radiology and Surgery, (4), 475-486.
NIH Publication No. 11-4798 (2011-03-01). “Cochlear Implants”. National Institute on Deafness and Other Communication Disorders.
Pau, H. W., Lankenau, E., Just, T., Behrend, D., & Hüttmann, G. (2007). Optical coherence tomography as an orientation guide in cochlear implant surgery? Acta Oto-Laryngologica, (127), 907-913.
Rau, T. S., Hussong, A., Leinung, M., Lenarz, T., & Majdani, O. (2010). Automated insertion of preformed cochlear implant electrodes: Evaluation of curling behaviour and insertion forces on an artificial cochlear model. International Journal of Computer Assisted Radiology and Surgery, (5), 173-181.
Zhang, J., Wei, W., Ding, J., Roland, J. T. J., Manolidis, S., & Simaan, N. (2010). Inroads toward robot-assisted cochlear implant surgery using steerable electrode arrays. Otology & Neurotology.
Project Goals
Technical Summary
Project Management
Bibliography
Overview

## Slide 15: Questions?