## Slide 1: Metal Artifact Removal in C-arm Cone-Beam CT
Group 4
Carolina Cay-Martinez, Marta Wells
Mentors: Dr. Siewerdsen, Dr. Radvany,
and Dr. Ehtiati
Project Checkpoint Presentation
Notes: caro

## Slide 2: Mission
To quantitatively evaluate the performance and image quality of a metal artifact reduction (MAR) algorithm in CT guidance of endovascular treatments for intracranial aneurysms.
Figure 1. Interventional radiology procedures for treatment of aneurysms: (a) stent-assisted coiling, (b) clipping, and (c) liquid embolization. Images by M. Headworth.
(a)
(b)
(c)
Notes: caro

## Slide 3: Plan and Deliverables
Original Plan
Adjusted Plan*
First stage
(min)
Metal spheres
Second stage
(exp)
Coils and/or clips
Third stage
(max)
Liquid embolus
First stage
(min)
Metal spheres
Second stage
(exp)
Coils and stent
Third stage
(max)
Liquid embolus and stent
Fourth stage
(max)
Clip
*No image acquisition on bench CT
Notes: caro

## Slide 4: Completed Progress
Construction and Image acquisition of first stage phantom: 9 metal spheres with varying materials and diameters
Notes: marta

## Slide 5: Completed Progress
Construction and Image acquisition of second stage phantom: combination of coils and stents in contrast enhanced and non enhanced vessel tree.
Notes: marta

## Slide 6: Completed Progress
Construction and Image acquisition of third stage phantom stent and liquid embolus (ONYX) system
Notes: marta

## Slide 7: Quantitative Measurements
Mean values of metal targets and background ROIs
Artifact magnitude = standard deviation of background ROIs
Sphericity and volume of metal spheres
CNR errors in soft-tissue models
Notes: marta

## Slide 8: In Progress
Construction and image acquisition of fourth stage phantom:
Phantom has already been prepared.
Zeego image acquisition scheduled for Thursday, May 3rd.
Priority is re-coiling, but a clip will be inserted if possible.
Notes: caro

## Slide 9: Original vs. Actual Schedule
Notes: caro

## Slide 10: Unexpected Dependencies
Acquiring materials
Scheduling with surgeon
Coiling procedure
MAR algorithm software application and analysis
Notes: caro

## Slide 11
Thank you
Questions?