## Slide 1: Intraoperative Registration of Pathology for Adjuvant Postoperative Radiotherapy
Kareem Fakhoury, Matthew Hauser, Steven Lin
Project #4
CIS Confidential
Kareem Fakhoury Matthew Hauser Steven Lin

## Slide 2: Mentors
CIS Confidential
Kareem Fakhoury Matthew Hauser Steven Lin
Dr. Harry Quon, M.D.
    Department of Radiation Oncology
Dr. Junghoon Lee, Ph.D
    Department of Radiation Oncology
Dr. Jeremy Richmon, M.D.
    Department of Head and Neck Surgery Robotic Program

## Slide 3: Overview
CIS Confidential
Kareem Fakhoury Matthew Hauser Steven Lin
1. Project Plan
2. Data Collection
3. Image pre-processing
4. Polaris Registration
5. Image Processing
6. What’s Next

## Slide 4: Overview
CIS Confidential
Kareem Fakhoury Matthew Hauser Steven Lin
Pre-Operative CT Scan
Remove a Piece of Pig Tongue
Insert Markers on Tongue and record positions with Polaris
Open CT Scan
Close Surgical Wound
Closed CT Scan

## Slide 5: Overview
CIS Confidential
Kareem Fakhoury Matthew Hauser Steven Lin

## Slide 6: Deliverables
CIS Confidential
Kareem Fakhoury Matthew Hauser Steven Lin
Minimum
  Data collection
  Registration of Preop Scans to Post-op scans with location of polaris points
Expected
  Implementation of workflow to register image data
  Comparison of Deformable Registration Algorithms
Maximum
  Evaluate Tissue Deformation
  Determine optimal marker placements for tissue deformation evaluation
  Help Dr. Quon with grant submission

## Slide 7: Deliverables
CIS Confidential
Kareem Fakhoury Matthew Hauser Steven Lin
Minimum
  Data collection
  Registration of Preop Scans to Post-op scans with location of polaris points
Expected
  Implementation of workflow to register image data
  Comparison of Deformable Registration Algorithms
Maximum
  Determine feasibility of registration of tongue outside of mouth
  Evaluate Tissue Deformation
  Determine optimal marker placements for tissue deformation evaluation
  Help Dr. Quon with grant submission

## Slide 8: Data Collection
CIS Confidential
Kareem Fakhoury Matthew Hauser Steven Lin

## Slide 9: Data Collection
CIS Confidential
Kareem Fakhoury Matthew Hauser Steven Lin
4 markers were placed in the tongue after resection
5 fiducials were placed on the pig head before resection

## Slide 10: Clips
CIS Confidential
Kareem Fakhoury Matthew Hauser Steven Lin

## Slide 11
CIS Confidential
Kareem Fakhoury Matthew Hauser Steven Lin

## Slide 12: Deliverables
CIS Confidential
Kareem Fakhoury Matthew Hauser Steven Lin
Minimum
  Data collection
  Registration of Preop Scans to Post-op scans with location of polaris points
Expected
  Implementation of workflow to register image data
  Comparison of Deformable Registration Algorithms
Maximum
  Determine feasibility of registration of tongue outside of mouth
  Evaluate Tissue Deformation
  Determine optimal marker placements for tissue deformation evaluation
  Help Dr. Quon with grant submission

## Slide 13: Marker Removal- Where is it?
CIS Confidential
Kareem Fakhoury Matthew Hauser Steven Lin

## Slide 14: Marker Removal- There it is!
CIS Confidential
Kareem Fakhoury Matthew Hauser Steven Lin

## Slide 15: Polaris to Pre-Operative CT Scan
Previous inaccuracies resolved
Registered Polaris fiducial coordinates ~ 1 mm away from the CT fiducial

## Slide 22: Deliverables
CIS Confidential
Kareem Fakhoury Matthew Hauser Steven Lin
Minimum
  Data collection
  Registration of Pre-op Scans to Post-op scans with location of polaris points
Expected
  Implementation of workflow to register image data
  Comparison of Deformable Registration Algorithms
Maximum
  Determine feasibility of registration of tongue outside of mouth
  Evaluate Tissue Deformation
  Determine optimal marker placements for tissue deformation evaluation
  Help Dr. Quon with grant submission

## Slide 23: Rigid
CIS Confidential
Kareem Fakhoury Matthew Hauser Steven Lin

## Slide 24: Binary Mask
CIS Confidential
Kareem Fakhoury Matthew Hauser Steven Lin

## Slide 25: Binary Mask
CIS Confidential
Kareem Fakhoury Matthew Hauser Steven Lin

## Slide 26: Iterations
Increase in iteration
  Deformable Registration of Pre-op increases similarity to post-op
Evaluated on a qualitative basis, need quantitative

## Slide 27: 1000 Iterations

## Slide 28: 10,000 Iterations

## Slide 29: 15,000 Iterations

## Slide 30: Original Post-Operative

## Slide 31: Optimizers
Explored common forms
  Conjugate Gradient
  Quasi Newton
  Standard Gradient
Evaluated at qualitative basis, need quantitative

## Slide 32: Standard Gradient Descent

## Slide 33: Quasi Newton

## Slide 34: Deliverables
CIS Confidential
Kareem Fakhoury Matthew Hauser Steven Lin
Minimum
  Data collection
  Registration of Preop Scans to Post-op scans with location of polaris points
Expected
  Implementation of workflow to register image data
  Comparison of Deformable Registration Algorithms
Maximum
  Determine feasibility of registration of tongue outside of mouth
  Evaluate Tissue Deformation
  Determine optimal marker placements for tissue deformation evaluation
  Help Dr. Quon with grant submission

## Slide 35
CIS Confidential
Kareem Fakhoury Matthew Hauser Steven Lin

## Slide 36
CIS Confidential
Kareem Fakhoury Matthew Hauser Steven Lin

## Slide 37: Deliverables
CIS Confidential
Kareem Fakhoury Matthew Hauser Steven Lin
Minimum
  Data collection
  Registration of Preop Scans to Post-op scans with location of polaris points
Expected
  Implementation of workflow to register image data
  Comparison of Deformable Registration Algorithms
Maximum
  Determine feasibility of registration of tongue outside of mouth
  Evaluate Tissue Deformation
  Determine optimal marker placements for tissue deformation evaluation
  Help Dr. Quon with grant submission

## Slide 38
CIS Confidential
Kareem Fakhoury Matthew Hauser Steven Lin

## Slide 39: Thank You!
CIS Confidential
Kareem Fakhoury Matthew Hauser Steven Lin