## Slide 1: TEP Insufflator
Rahul Modi
Mentor: Dr. Jeremy Richmon
Project #10
April 1, 2014

## Slide 2: Agenda
Problem Overview
Project Goal
Deliverables
Pictures
Dependencies
Management Plan
Assessment and Misc.
Key Dates
Technical Summary of Approach
Questions

## Slide 3
http://emedicine.medscape.com/article/2145329-overview

## Slide 4: Problem Overview
Patient’s face difficulty for numerous reasons
  Patient must cover the stoma when speaking. This has a social stigma and is uncomfortable
  Food can easily travel into trachea causing issues
http://www.evmsent.org/trachesoph.asp

## Slide 5: Project Goal and Next Steps
Develop an insufflator to allow patients to speak hands-free
  This requires a constant air flow; hence, we will implement a CPAP device
Create a single on/off method for patient to enable/disable airflow
http://en.wikipedia.org/wiki/Laryngectomy
http://www.cpapxchange.com/cpap-machines-bipap-machines/z1-travel-cpap-machine-human-design-medical-hd60-1005.jpg

## Slide 6: Deliverables
Minimum: create a method of attaching the CPAP device to the voice prosthesis
Expected: the minimum plus a method of constraining air flow via a valve on the CPAP device
Maximum: the expected plus a method of controlling the valve wirelessly

## Slide 7: Pictures

## Slide 8: Pictures

## Slide 9: Pictures

## Slide 10: Dependencies
Dependencies
  Access to mentor
  Feedback from clinical trials on patients
  Supplies
    Connection adapters to connect CPAP to voice prosthesis
      Purchased and completed
    Suction catheters
      Sizing will depend on patient
      Provided by Dr. Richmon
  Money
    Provided by Dr. Richmon

## Slide 11: Dependencies

## Slide 12: Management Plan
Weekly/bi-weekly meetings with Dr. Richmon
Clinical tests will allow for modifications
  Adjustments to machine based on feedback
Completed
  The minimum and expected deliverable
In process
  The maximum deliverable

## Slide 13: Key Dates

## Slide 14: Technical Summary

## Slide 15: Questions