## Slide 1: TEP Insufflator
Rahul Modi
Mentor: Dr. Jeremy Richmon
Project #10
February 6, 2014

## Slide 2: Agenda
Background/Definition
Problem Overview
Project Goal and Next Steps
Deliverables
Dependencies
Management Plan
Assessment and Misc.
Key Dates
Technical Summary of Approach
Questions

## Slide 3: Background/Definition
Approximately 3,000 patients undergo laryngectomy annually in the U.S.
Laryngectomy is the removal of the larynx – common in smokers or those with oral cancer
General procedure calls for tracheostomy – a process where an incision is made in the patient’s neck. This is called the stoma
http://www.evmsent.org/trachesoph.asp

## Slide 4: Background/Definition (Cont’d)
Tracheo-Esophageal Speech:
  One of the most effective methods of generating speech in patients
  During exhalation, air is diverted into esophagus, eventually flowing out of mouth, causing the esophagus to vibrate
  To divert air into esophagus, a voice prosthesis is placed into the fistula to keep it open and prevent food from traveling down the trachea
http://www.evmsent.org/trachesoph.asp

## Slide 5
http://emedicine.medscape.com/article/2145329-overview

## Slide 6: Problem Overview
Patient’s face difficulty for numerous reasons
  Patient must cover the stoma when speaking. This has a social stigma and is uncomfortable
  Not everyone’s anatomy allows for this as stoma walls could be too tight or loose
  Food can easily travel into trachea causing issues
http://www.evmsent.org/trachesoph.asp

## Slide 7: Project Goal and Next Steps
Develop an insufflator to allow patients to speak hands-free
  This requires a constant air flow; hence, we will implement a CPAP device
Create a single on/off method for patient to enable/disable airflow
http://en.wikipedia.org/wiki/Laryngectomy
http://www.cpapxchange.com/cpap-machines-bipap-machines/z1-travel-cpap-machine-human-design-medical-hd60-1005.jpg

## Slide 8: Deliverables
Minimum: create a method of attaching the CPAP device to the voice prosthesis
Expected: the minimum plus a method of constraining air flow via a valve on the CPAP device
Maximum: the expected plus a method of controlling the valve wirelessly

## Slide 9: Dependencies
Dependencies
  Access to mentor
  Feedback from clinical trials on patients
  Supplies
    Connection adapters to connect CPAP to voice prosthesis
      Purchased. Few modifications pending
    Suction catheters
      Sizing will depend on patient
      Provided by Dr. Richmon
  Money?

## Slide 10: Management Plan
Weekly/bi-weekly meetings with Dr. Richmon
Clinical tests will allow for modifications
  Adjustments to machine based on feedback
Completed
  The minimum deliverable with few pending modifications
In process
  The expected deliverable

## Slide 11: Assessment and Misc.
Importance: project is of high importance as it helps patients rid of their discomfort and social barriers
Relevance: great for management purposes. Incorporates the invention, trial and error, and business application (such as patentability or IRB)
Good/Bad Points:
  Intelligent logic that improves someone’s life using existing products
  Minimal bad points: not fully customizable (yet)
    Needs a method of changing suction catheter on device

## Slide 12: Key Dates
Project start date of early December 2013
Expected deliverable due by end of this month
  Dr. Richmon requires working prototype for clinical trials for IRB
Maximum deliverable due soon after

## Slide 13: Technical Summary
Project currently midway in progress
  Successfully connected CPAP to voice prosthesis
Next step is to implement a valve mechanism to allow the patient to enable/disable air flow from the CPAP using his thumb on the CPAP
  Idea is that the patient’s thumb will cover at his/her waist level and eliminate need to cover stoma
  To accomplish this, I will create a valve mechanism on the primary pipe attachment (grey cylinder) and occlude the suction catheter with a removable piece

## Slide 14: Questions