## Slide 1: Ultrasound-based Visual Servoing
Team Members: Michael Scarlett
Mentors: Bernhard Fuerst, Prof. Navab
March 31, 2015
Group 8

## Slide 2
Topic – Ultrasound Visual Servoing
Automatic feedback control of robot as a function of input image and reference image
Use current ultrasound volume to automatically move robotic ultrasound probe to volume of interest
Current ultrasound volume
Volume of interest
Current position
Final position
Move

## Slide 3
Doctor chooses volume of interest within reference image
Use current ultrasound volume to find transformation to volume of interest
Move ultrasound probe
Repeat 2-3 until error is small
Topic – Ultrasound Visual Servoing
Volume of interest
Reference image
Ultrasound probe
Ultrasound volume
R, t

## Slide 4
During procedure, reference image differs from current anatomy due to deformations and organ movement
Robotic ultrasound provides superior dexterity relative to hand-held ultrasound and allows 3D reconstruction
Motivation

## Slide 5
Project Goal
ImFusion plugin that uses visual servo control of KUKA robot to move ultrasound probe to volume of interest

## Slide 6: System Setup
User interface
Workstation
KUKA robot
Ultrasound probe
Ultrasound phantom
Select volume of interest
Acquire ultrasound image
Visual servo control of robot
Movement of ultrasound probe and current position
Experimental testing and validation

## Slide 7
Interpolator
Is |T| small?
END
no
yes
KUKA Robot
ImFusion ROS node
ROS core
Sunrise.Connectivity ROS node
Bi
Volume of interest
Transform
Optimizer
“Tracked” ultrasound slices
3D ultrasound image compounding
Similarity measure
A
B
AT(B)
T(B)
Image Analysis (ImFusion)
Robot communication (ROS and KUKA Sunrise)
Ultrasound probe
Move KUKA
Sunrise.Connectivity

## Slide 8: Current progress – ROS
ROS acts as middleware that decouples software components and enables message passing between processes
ROS consists of master coordination node and publisher/subscriber nodes that post and receive messages
ROS core
Publisher: “Hello World”
Subscriber: I heard “Hello World”

## Slide 9: Current progress – ROS
Need ROS to be compatible with ImFusion SDK, but Windows support for ROS is currently experimental
Compile ROS and its dependencies from source using WinRos

## Slide 10: Current progress – ROS
A standard way is needed of communicating transformations
Use Pose message which consists of a 3D point and a quaternion

## Slide 11: Current progress – ROS
3D rotation matrix can be represented as a unit quaternion

## Slide 12: Current progress – ROS
Currently working on ROS plugin for ImFusion
Collaborate with other students who are creating a ROS node for KUKA Sunrise which will accept a Pose message
ROS core
ImFusion ROS node
KUKA Sunrise

## Slide 13: Deliverables
Minimum
  ImFusion plugin for communication between ImFusion and KUKA robot
  ImFusion plugin for automated registration of ultrasound volume with volume of interest to obtain transformation
ROS core
ImFusion ROS node
KUKA Sunrise
Transformation
Volume of interest
Ultrasound probe
KUKA robot

## Slide 14: Deliverables
Expected
  Given an initial location adjacent to phantom and volume of interest, move robotic ultrasound probe to location of volume of interest
  Perform validation of path planning on different ultrasound phantoms
  Evaluate performance of different registration techniques
  Provide documentation of completed portions
ROS core
ImFusion ROS node
KUKA Sunrise
Transformation
Volume of interest
Ultrasound probe
KUKA robot
Motion planning

## Slide 15: Deliverables
Maximum
  Integrate Kinect sensor with visual servoing system
  Given the volume of interest and initial location away from phantom, move robotic ultrasound probe to location of volume of interest
ROS core
ImFusion ROS node
KUKA Sunrise
Transformation
Volume of interest
Ultrasound probe
KUKA robot
Kinect sensor
Motion planning

## Slide 16: Original timeline
Notes | Feb 13 | Feb 20 | Feb 27 | Mar 6 | Mar 13 | Mar 20 | Mar 27 | Apr 3 | Apr 10 | Apr 17 | Apr 24 | May 1 | May 8
Learn ROS |  |  |  |  |  |  |  |  |  |  |  |  | 
Make first ROS node |  |  |  |  |  |  |  |  |  |  |  |  | 
Set up ImFusion |  |  |  |  |  |  |  |  |  |  |  |  | 
Perform literature review |  |  |  |  |  |  |  |  |  |  |  |  | 
First control of robot from ImFusion |  |  |  |  |  |  |  |  |  |  |  |  | 
ImFusion plugin for robot control |  |  |  |  |  |  |  |  |  |  |  |  | 
First image transformation |  |  |  |  |  |  |  |  |  |  |  |  | 
ImFusion plugin for image transformation |  |  |  |  |  |  |  |  |  |  |  |  | 
First ultrasound image acquisition |  |  |  |  |  |  |  |  |  |  |  |  | 
System-level integration of modules |  |  |  |  |  |  |  |  |  |  |  |  | 
Obtain correct ultrasound volume given volume of interest and location adjacent to ultrasound phantom |  |  |  |  |  |  |  |  |  |  |  |  | 
System testing and validation |  |  |  |  |  |  |  |  |  |  |  |  | 
Integrate existing modules with Kinect sensor plugin |  |  |  |  |  |  |  |  |  |  |  |  | 
Obtain correct ultrasound volume given only volume of interest |  |  |  |  |  |  |  |  |  |  |  |  | 

## Slide 17
Revised timeline
Notes | Feb 13 | Feb 20 | Feb 27 | Mar 6 | Mar 13 | Mar 20 | Mar 27 | Apr 3 | Apr 10 | Apr 17 | Apr 24 | May 1 | May 8
Learn ROS |  |  |  |  |  |  |  |  |  |  |  |  | 
Make first ROS node |  |  |  |  |  |  |  |  |  |  |  |  | 
Set up ImFusion |  |  |  |  |  |  |  |  |  |  |  |  | 
Perform literature review |  |  |  |  |  |  |  |  |  |  |  |  | 
First control of robot from ImFusion |  |  |  |  |  |  |  |  |  |  |  |  | 
ImFusion plugin for basic robot control |  |  |  |  |  |  |  |  |  |  |  |  | 
First image transformation |  |  |  |  |  |  |  |  |  |  |  |  | 
ImFusion plugin for image transformation |  |  |  |  |  |  |  |  |  |  |  |  | 
First ultrasound probe acquisition |  |  |  |  |  |  |  |  |  |  |  |  | 
System-level integration of modules |  |  |  |  |  |  |  |  |  |  |  |  | 
Obtain correct ultrasound volume given volume of interest and location adjacent to ultrasound phantom |  |  |  |  |  |  |  |  |  |  |  |  | 
System testing and validation |  |  |  |  |  |  |  |  |  |  |  |  | 
Integrate existing modules with Kinect sensor plugin |  |  |  |  |  |  |  |  |  |  |  |  | 
Obtain correct ultrasound volume given only volume of interest |  |  |  |  |  |  |  |  |  |  |  |  | 

## Slide 18: Dependencies
Resolved
  Ability to meet mentors
  Workstation with ImFusion and KUKA robot
  Ultrasound probe and phantoms
  Kinect sensor
Additional
  Collaborate with other students to create ROS node for KUKA Sunrise

## Slide 19: Reading list
Abolmaesumi P, Salcudean SE, Zhu WH. Visual servoing for robot-assisted diagnostic ultrasound. Proc 22nd Annu Int Conf IEEE Eng Med Biol Soc (Cat No00CH37143). 2000;4:2532-2535. doi:10.1109/IEMBS.2000.901348.
Abolmaesumi P, Salcudean S, Sirouspour MR, DiMaio SP. Image-guided control of a robot for medical ultrasound. IEEE Trans Robot Autom. 2002;18(1):11-23. doi:10.1109/70.988970.
Bischoff R, Kurth J, Schreiber G, et al. The KUKA-DLR Lightweight Robot arm – a new reference platform for robotics research and manufacturing. In: Joint 41th Internatiional Symposium on Robotics and 6th German Conference on Robotics.; 2010:741-748.
Chaumette F, Hutchinson S. Visual Servo Control. IEEE Robot Autom Mag. 2007;1(March):109-118.
Chatelain P, Krupa A, Navab N. Optimization of ultrasound image quality via visual servoing. 2015.
Choset H. Principles of Robot Motion: Theory, Algorithms, and Implementation. (Choset HM, ed.). MIT Press; 2005:603. Available at: http://books.google.com/books?id=S3biKR21i-QC&pgis=1. Accessed October 27, 2014.

## Slide 20: Reading list
Conti F, Park J, Khatib O. Interface Design and Control Strategies for a Robot Assisted Ultrasonic Examination System. Khatib O, Kumar V, Sukhatme G, eds. Exp Robot. 2014;79:97-113. doi:10.1007/978-3-642-28572-1.
Fuerst B, Hennersperger C, Navab N. DRAFT : Towards MRI-Based Autonomous Robotic US Acquisition : A First Feasibility Study.
Gardiazabal J, Esposito M, Matthies P, et al. Towards Personalized Interventional SPECT-CT Imaging. In: Golland P, Hata N, Barillot C, Hornegger J, Howe R, eds. Medical Image Computing and Computer-Assisted Intervention – MICCAI 2014.Vol 8673. Lecture Notes in Computer Science. Cham: Springer International Publishing; 2014:504-511. doi:10.1007/978-3-319-10404-1.
Janvier M-A, Durand L-G, Cardinal M-HR, et al. Performance evaluation of a medical robotic 3D-ultrasound imaging system. Med Image Anal. 2008;12(3):275-90. doi:10.1016/j.media.2007.10.006.
Krupa A. Automatic calibration of a robotized 3D ultrasound imaging system by visual servoing. In: IEEE International Conference on Robotics and Automation, 2006.Vol 2006.; 2006:4136-4141. doi:10.1109/ROBOT.2006.1642338.

## Slide 21: Reading list
Nakadate R, Matsunaga Y, Solis J. Development of a robot assisted carotid blood flow measurement system. Mech Mach Theory. 2011;46(8):1066-1083. Available at: http://www.sciencedirect.com/science/article/pii/S0094114X11000607. Accessed August 25, 2014.
Schreiber G, Stemmer A, Bischoff R. The Fast Research Interface for the KUKA Lightweight Robot. In: IEEE Workshop on Innovative Robot Control Architectures for Demanding. ICRA; 2010:15-21.
Shepherd S, Buchstab A. KUKA Robots On-Site. McGee W, Ponce de Leon M, eds. Robot Fabr Archit Art Des 2014. 2014:373-380. doi:10.1007/978-3-319-04663-1.
Tauscher S, Tokuda J, Schreiber G, Neff T, Hata N, Ortmaier T. OpenIGTLink interface for state control and visualisation of a robot for image-guided therapy systems. Int J Comput Assist Radiol Surg. 2014. doi:10.1007/s11548-014-1081-1.

## Slide 22: Thank You