## Slide 1: Synthetic Tracked Aperture Ultrasound Imaging: Virtual Fixtures and Force Control Group 2: Checkpoint Presentation
Kalyna Apkarian and Rodolfo Finocchi
Mentors: Kai Zhang, Dr. Emad Boctor, Dr. Russ Taylor

## Slide 2: Motivation
Aperture size of the ultrasound transducer limits image quality
Synthetic tracked aperture imaging shows improvement
  Current system is autonomous by robot
    Difficulty in clinical translation
    Force control required for anatomy specific imaging and patient safety
Goal is to bring system from autopilot to co-robotic freehand
Motivation
Deliverables
Completed Work
Dependencies
Timelines

## Slide 3: Deliverables
Minimum
Code implementing virtual fixtures 
Code implementing compliance force control 
Comparison of actual trajectory of robot with planned trajectory  - (minor issue)
Demonstration of translational path in water tank using co-robotic control 
Expected
Demonstration of translational path on general US phantom, without contact force control 
Demonstration of translational path on general US phantom, with contact force control – Next step
Maximum
Demonstration of rotational path in water tank using co-robotic control – Planned
Demonstrate control on more anatomically accurate path using rotation and force control
on abdominal phantom – Possible
Motivation
Deliverables
Completed Work
Dependencies
Timelines

## Slide 4: Robot Control: Constrained Optimization Approach
Motivation
Deliverables
Completed Work
Dependencies
Timelines

## Slide 5: Robot Control: Constrained Optimization Approach
Motivation
Deliverables
Completed Work
Dependencies
Timelines

## Slide 6: Stay On Line Virtual Fixture
Source:
Li, Ming, Ankur Kapoor, and Russell H. Taylor. "A constrained optimization approach to virtual fixtures." Intelligent Robots and Systems, 2005.(IROS 2005). 2005 IEEE/RSJ International Conference on. IEEE, 2005.
6
Motivation
Deliverables
Completed Work
Dependencies
Timelines

## Slide 7: Frame Transformation
Used in STRATUS image reconstruction according to: M=X-1*Bi-1*Bj*X for each pose
Used in “stay on line” to define desired trajectory relative to long axis of probe
Motivation
Deliverables
Completed Work
Dependencies
Timelines
7

## Slide 8: Demonstration of VF
Motivation
Deliverables
Completed Work
Dependencies
Timelines
8

## Slide 9: Actual vs. Expected Robot Trajectory
Motivation
Deliverables
Completed Work
Dependencies
Timelines
Chart: Initial
Actual distance | 2.6353e-14 | -0.027261 | -0.12871 | -0.41102 | -0.68055 | -0.91207 | -1.1514 | -2.2761 | -3.2642 | -4.6284 | -6.3649 | -8.3141 | -9.85 | -11.7853 | -13.1666 | -15.2853 | -17.4403 | -19.4123 | -21.1485 | -23.3635 | -25.753 | -27.6537 | -29.5871 | -32.1288 | -32.8725 | -34.9529 | -36.1981 | -37.3915 | -38.5867 | -39.6921 | -40.7501 | -41.9006 | -43.2823 | -44.4347 | -46.315 | -47.4121 | -49.6916 | -50.8282 | -52.8668 | -54.6009 | -56.4446 | -58.7282 | -60.3143 | -62.0468 | -65.7906 | -66.1724 | -67.5442 | -68.9799 | -70.3134 | -71.3034
Robot tracking distance | 0 | 0 | 0 | -0.5 | -1 | -2.5 | -3.5 | -4.5 | -6 | -7.5 | -9 | -11 | -13 | -14.5 | -16.5 | -18.5 | -20.5 | -16 | -18 | -20 | -22 | -24 | -26 | -27.5 | -29.5 | -30.5 | -31.5 | -33 | -34 | -35 | -36.5 | -37.5 | -39 | -40.5 | -42 | -44 | -45.5 | -47 | -49 | -51 | -53 | -54.5 | -56.5 | -58.5 | -60 | -62 | -63.5 | -64.5 | -65.5 | -66.5
Chart: Overlaid
Actual distance | 2.6353e-14 | -0.027261 | -0.12871 | -0.41102 | -0.68055 | -0.91207 | -1.1514 | -2.2761 | -3.2642 | -4.6284 | -6.3649 | -8.3141 | -9.85 | -11.7853 | -13.1666 | -15.2853 | -17.4403 | -19.4123 | -21.1485 | -23.3635 | -25.753 | -27.6537 | -29.5871 | -32.1288 | -32.8725 | -34.9529 | -36.1981 | -37.3915 | -38.5867 | -39.6921 | -40.7501 | -41.9006 | -43.2823 | -44.4347 | -46.315 | -47.4121 | -49.6916 | -50.8282 | -52.8668 | -54.6009 | -56.4446 | -58.7282 | -60.3143 | -62.0468 | -65.7906 | -66.1724 | -67.5442 | -68.9799 | -70.3134 | -71.3034
Robot tracking distance | 0 | 0 | 0 | -0.5 | -1 | -2.5 | -3.5 | -4.5 | -6 | -7.5 | -9 | -11 | -13 | -14.5 | -16.5 | -18.5 | -20.5 | -16 | -18 | -20 | -22 | -24 | -26 | -27.5 | -29.5 | -30.5 | -31.5 | -33 | -34 | -35 | -36.5 | -37.5 | -39 | -40.5 | -42 | -44 | -45.5 | -47 | -49 | -51 | -53 | -54.5 | -56.5 | -58.5 | -60 | -62 | -63.5 | -64.5 | -65.5 | -66.5
9

## Slide 10: Image Improvement
Left: Single pose B-mode ultrasound image of general US phantom.
Right: STRATUS images synthesized in the range of 60 mm motion data; field-of-view expanded by 65.5 mm.
 | Single | STRATUS: 60 mm
FWHM (mm) | 3.87 | 2.37
Contrast (dB) | -7.14 | -10.67
SNR (dB) | 25.01 | 29.35
Motivation
Deliverables
Completed Work
Dependencies
Timelines
10

## Slide 11: Additional Accomplishments
Paper submitted to 2016 MICCAI Conference
  “Co-Robotic Synthetic Tracked Aperture Ultrasound Imaging with Virtual Fixture Control”
Motivation
Deliverables
Completed Work
Dependencies
Timelines
11

## Slide 12: Dependencies & Problems
Original
Access to mentors 
Access to water tank & phantoms 
Access to STrAtUS real-time visualization system 
Deeper understanding of virtual fixtures and implementation 
Access to UR5 robot and force sensors- minor issue, addressed
Access to Sonix Touch ultrasound system- minor issue, addressed
Motivation
Deliverables
Completed Work
Dependencies
Timelines
12

## Slide 13: Management Updates
Weekly meetings with Kai 
Bi-weekly team meetings 
  Design documentation
  Working code
    Updated after every meeting via shared folder
  Experimental data
13
Motivation
Deliverables
Completed Work
Dependencies
Timelines

## Slide 14: Original Timeline
2016
2016
Today
Feb
Mar
Apr
Complete minimum deliverables
3/14/16
Complete expected deliverables
3/31/16
Complete maximum deliverables
4/29/16
15 days
2/15/16 - 2/29/16
Literature review
15 days
2/15/16 - 2/29/16
Review CISST VF examples
15 days
2/22/16 - 3/7/16
Implement compliance force control code
15 days
2/22/16 - 3/7/16
Implement virtual fixtures code
15 days
2/29/16 - 3/14/16
Demonstrate accurate trajectory
15 days
2/29/16 - 3/14/16
Demonstrate translational path in water tank
18 days
3/14/16 - 3/31/16
Demonstrate translational path on general US phantom
18 days
3/14/16 - 3/31/16
Demonstrate rotational path in water tank
29 days
4/1/16 - 4/29/16
Demonstrate translational and rotational path on abdominal phantom
14
Motivation
Deliverables
Completed Work
Dependencies
Timelines

## Slide 15: Updated Timeline
2016
2016
Today
Feb
Mar
Apr
Complete minimum deliverables
3/14/16
Complete expected deliverables
3/31/16
Complete maximum deliverables
4/29/16
11 days
2/15/16 - 2/29/16
Literature review
11 days
2/15/16 - 2/29/16
Review CISST VF examples
11 days
2/22/16 - 3/7/16
Implement compliance force control code
11 days
2/22/16 - 3/7/16
Implement virtual fixtures code
11 days
2/29/16 - 3/14/16
Demonstrate accurate trajectory
11 days
2/29/16 - 3/14/16
Demonstrate translational path in water tank
14 days
3/14/16 - 3/31/16
Demonstrate translational path on general US phantom (without contact force control)
20 days
3/14/16 - 4/8/16
Demonstrate translational path on general US phantom (with contact
force control)
22 days
3/31/16 - 4/29/16
Demonstrate rotational path in water tank
22 days
3/31/16 - 4/29/16
Demonstrate translational and rotational path on abdominal phantom
15
Motivation
Deliverables
Completed Work
Dependencies
Timelines