## Contents
Sheet | Contents
1 | Table of Contents
2 | Sources
3 | Adipose
4 | Aorta
5 | Bladder
6 | Blood
7 | Bone
8 | Brain
9 | Heart
10 | Kidney
11 | Liver
12 | Lung
13 | Muscle
14 | Skin
15 | Stomach
16 | Uterus
17 | Summary

## Sources
Year | Paper
1987 | Jacques SL, Prahl SA. Modeling optical and thermal distributions in tissue during laser irradiation. Lasers Surg Med. 1987;6:494–503.
1990 | Cheong WF, Prahl SA, Welch AJ. A review of the optical properties of biological tissues. IEEE Journal of Quantum Electronics. 1990;26:2166–2185.
1993 | Firbank M, Hiraoka M, Essenpreis M, et al. Measurement of the optical properties of the skull in the wavelength range 650-950 nm. Phys. Med. Biol. 1993;38:503–510.
1996 | Kienle A, Lilge L, Patterson MS, et al. Spatially resolved absolute diffuse reflectance measurements for noninvasive determination of the optical scattering and absorption coefficients of biological tissue. Appl. Opt. 1996;35:2304–2314.
2001 | Torricelli A, Pifferi A, Taroni P, et al. In vivo optical characterization of human tissues from 610 to 1010 nm by time-resolved reflectance spectroscopy. Phys. Med. Biol. 2001;46:2227–2237. | in vivo human
2005 | Alexandrakis G, and Rannou FR, and Chatziioannou AF. - Tomographic bioluminescence imaging by use of a combined optical-PET (OPET) system: A computer simulation feasibility study. - Physics in Medicine and Biology(- 17):- 4225.
2006 | Wang Ge, Cong Wenxiang , Durairaj Kumar, Qian Xin, Shen Haiou, Sinn Patrick, Hoffman Eric, McLennan Geoffrey, and Henry Michael, "In vivo mouse studies with bioluminescence tomography," Opt. Express 14, 7801-7809 (2006)
2011 | Sandell, J.L., & Zhu, T.C. (2011). A review of in-vivo optical properties of human tissues and its impact on PDT. Journal of Biophotonics, 4(11-12), 773-787.
2011 | Honda N, Ishii K, Terada T, Nanjo T, Awazu K; Determination of the tumor tissue optical properties during and after photodynamic therapy using inverse monte carlo method and double integrating sphere between 350 and 1000 nm. J. Biomed. Opt. 0001;16(5):058003-058003-7. doi:10.1117/1.3581111. | Tumorous mouse tissue
2011 | Bashkatov, A.N., Genina, E.A., Tuchin, V.V. (2011). Optical properties of skin, subcutaneous, and muscle tissues: A review. Journal of Innovative Optical Health Sciences, 04(01), 9-38.
2011 | Welch AJ, Gemert MJC. Optical-thermal response of laser-irradiated tissue. Dordrecht: Springer; 2011.
2013 | Jacques SL. Optical properties of biological tissues: a review. Phys. Med. Biol. 2013;58:R37–R61.
Alexandrakis calculations done using:
Prahl S A 2001 | http://omlc.ogi.edu/spectra/index.html (Oregon Medical Laser Clinic)
http://omlc.org/spectra/hemoglobin/summary.html
lambda(nm) | HbO2 molar extinction(1/cm/M) | Hb molar extinction(1/cm/M) | HbO2 absorption (1/cm) | Hb absorption (1/cm)
590 | 14400.8 | 28324.4 | 77.128 | 151.7002
610 | 1506 | 9443.6 | 8.0659 | 50.5782
630 | 610 | 5148.8 | 3.267 | 27.576
650 | 368 | 3750.12 | 1.9709 | 20.0849

## Adipose
year | source | wavelength |  | absorbance |  | scattering | anisotropy | reduced scattering |  | note
1990 | Cheong | 630 | nm |  |  |  | 0.77 |  |  | ex vivo, pig, from Flock 1987
1996 | Kienle | 633 | nm | 0.0026 | 1/mm |  |  | 1.2 | 1/mm | ex vivo, cow
1996 | Kienle | 751 | nm | 0.0021 | 1/mm |  |  | 1 | 1/mm | ex vivo, cow
2005 | Alexandrakis | 590 | nm | 0.42746 | 1/cm |  |  | 1.2919 | 1/mm | mouse estimate, calculated from parameters a = 38/mm, b = 0.53, S_B = 0.0033, x = 0.7, S_W = 0.5
2005 | Alexandrakis | 610 | nm | 0.12615 | 1/cm |  |  | 1.2693 | 1/mm | mouse estimate, calculated from parameters a = 38/mm, b = 0.53, S_B = 0.0033, x = 0.7, S_W = 0.5
2005 | Alexandrakis | 630 | nm | 0.068405 | 1/cm |  |  | 1.2478 | 1/mm | mouse estimate, calculated from parameters a = 38/mm, b = 0.53, S_B = 0.0033, x = 0.7, S_W = 0.5
2005 | Alexandrakis | 650 | nm | 0.050035 | 1/cm |  |  | 1.2273 | 1/mm | mouse estimate, calculated from parameters a = 38/mm, b = 0.53, S_B = 0.0033, x = 0.7, S_W = 0.5
2011 | Bashkatov | 400 | nm | 2.26 | 1/cm |  |  | 13.4 | 1/cm | ex vivo, human, subcutaneous
2011 | Bashkatov | 500 | nm | 1.49 | 1/cm |  |  | 13.8 | 1/cm | ex vivo, human, subcutaneous
2011 | Bashkatov | 600 | nm | 1.18 | 1/cm |  |  | 13.4 | 1/cm | ex vivo, human, subcutaneous
2011 | Bashkatov | 700 | nm | 1.11 | 1/cm |  |  | 12.2 | 1/cm | ex vivo, human, subcutaneous
2011 | Bashkatov | 800 | nm | 1.07 | 1/cm |  |  | 11.6 | 1/cm | ex vivo, human, subcutaneous
2011 | Bashkatov | 400 | nm | 15.98 | 1/cm |  |  | 49.5 | 1/cm | ex vivo, human, subcutaneous
2011 | Bashkatov | 500 | nm | 5.5 | 1/cm, |  |  | 35.4 | 1/cm | ex vivo, human, subcutaneous
2011 | Bashkatov | 600 | nm | 1.89 | 1/cm |  |  | 27 | 1/cm | ex vivo, human, subcutaneous
2011 | Bashkatov | 700 | nm | 1.27 | 1/cm |  |  | 23 | 1/cm | ex vivo, human, subcutaneous
2011 | Bashkatov | 800 | nm | 1.08 | 1/cm |  |  | 20.2 | 1/cm | ex vivo, human, subcutaneous
2011 | Bashkatov | 400 | nm | 2.25 | 1/cm |  |  | 19.8 | 1/cm | ex vivo, rat, subcutaneous
2011 | Bashkatov | 500 | nm | 0.64 | 1/cm |  |  | 14.3 | 1/cm | ex vivo, rat, subcutaneous
2011 | Bashkatov | 600 | nm | 0.64 | 1/cm |  |  | 12.2 | 1/cm | ex vivo, rat, subcutaneous
2011 | Bashkatov | 700 | nm | 0.75 | 1/cm |  |  | 11.4 | 1/cm | ex vivo, rat, subcutaneous
2011 | Bashkatov | 800 | nm | 1.05 | 1/cm |  |  | 11 | 1/cm | ex vivo, rat, subcutaneous
2013 | Jacques | 590 | nm |  |  |  |  | 12.8542 | 1/cm | human, subcutaneous, Simpson 1998
2013 | Jacques | 610 | nm |  |  |  |  | 12.6903 | 1/cm | human, subcutaneous, Simpson 1998
2013 | Jacques | 630 | nm |  |  |  |  | 12.5337 | 1/cm | human, subcutaneous, Simpson 1998
2013 | Jacques | 650 | nm |  |  |  |  | 12.3838 | 1/cm | human, subcutaneous, Simpson 1998
2013 | Jacques | 590 | nm |  |  |  |  | 9.7258 | 1/cm | human, breast, Peters 1990
2013 | Jacques | 610 | nm |  |  |  |  | 9.5587 | 1/cm | human, breast, Peters 1990
2013 | Jacques | 630 | nm |  |  |  |  | 9.3997 | 1/cm | human, breast, Peters 1990
2013 | Jacques | 650 | nm |  |  |  |  | 9.2482 | 1/cm | human, breast, Peters 1990
2013 | Jacques | 590 | nm |  |  |  |  | 29.8898 | 1/cm | human, subcutaneous, human, subcutaneous, Salomatina 2006
2013 | Jacques | 610 | nm |  |  |  |  | 28.9214 | 1/cm | human, subcutaneous, human, subcutaneous, Salomatina 2006
2013 | Jacques | 630 | nm |  |  |  |  | 28.0141 | 1/cm | human, subcutaneous, human, subcutaneous, Salomatina 2006
2013 | Jacques | 650 | nm |  |  |  |  | 27.1623 | 1/cm | human, subcutaneous, human, subcutaneous, Salomatina 2006
2013 | Jacques | 590 | nm |  |  |  |  | 18.5184 | 1/cm | human, subcutaneous, human, subcutaneous, Salomatina 2006
2013 | Jacques | 610 | nm |  |  |  |  | 17.9531 | 1/cm | human, subcutaneous, human, subcutaneous, Salomatina 2006
2013 | Jacques | 630 | nm |  |  |  |  | 17.4224 | 1/cm | human, subcutaneous, human, subcutaneous, Salomatina 2006
2013 | Jacques | 650 | nm |  |  |  |  | 16.9234 | 1/cm | human, subcutaneous, human, subcutaneous, Salomatina 2006

## Aorta
year | source | wavelength |  | absorbance | stdev |  | scattering |  | anisotropy | reduced scattering |  | note
1990 | Cheong | 633 | nm | 2.3 |  | 1/cm | 315 | 1/cm | 0.87 |  |  | ex vivo, human, from Keijzer 1989
1990 | Cheong | 633 | nm | 0.52 |  | 1/cm | 310 | 1/cm | 0.9 |  |  | ex vivo, human, from Yoon 1988
1990 | Cheong | 514.5 | nm | 5.55 | 1.35 | 1/cm | [5 empty] | ex vivo, human, calculated from u_a = A_km/2, and S_km = 11.0(0.8)from van Gemert 1985
1990 | Cheong | 633 | nm | 0.9 | 0.45 | 1/cm | [5 empty] | ex vivo, human, calculated from u_a = A_km/2, and S_km = 6.3(1.4) from van Gemert 1985
1990 | Cheong | 1060 | nm | 0.45 | 0.15 | 1/cm | [5 empty] | ex vivo, human, calculated from u_a = A_km/2, and S_km = 2.8(2.0) from van Gemert 1985
1990 | Cheong | 633 | nm | 1 |  | 1/cm | [5 empty] | ex vivo, human, calculated from u_a = A_km/2, and S_km = 16, from Oraevsky 1988
1990 | Cheong | 488 | nm | 3.9 |  | 1/cm | [5 empty] | ex vivo, human, calculated from u_a = A_km/2, and S_km = 21.7, from Oraevsky 1988
1990 | Cheong | 632.8 | nm | 0.52 |  | 1/cm | 316 | 1/cm | 0.87 | 41 | 1/cm | ex vivo, human, from Yoon 1987
1990 | Cheong | 476 | nm | 14.8 |  | 1/cm | 237 | 1/cm | 0.81 | 45 | 1/cm | ex vivo, human, intima, from Keijzer 1989
1990 | Cheong | 580 | nm | 8.9 |  | 1/cm | 183 | 1/cm | 0.81 | 34.8 | 1/cm | ex vivo, human, intima, from Keijzer 1990
1990 | Cheong | 600 | nm | 4 |  | 1/cm | 178 | 1/cm | 0.81 | 33.8 | 1/cm | ex vivo, human, intima, from Keijzer 1991
1990 | Cheong | 633 | nm | 3.6 |  | 1/cm | 171 | 1/cm | 0.85 | 25.7 | 1/cm | ex vivo, human, intima, from Keijzer 1992
1990 | Cheong | 476 | nm | 7.3 |  | 1/cm | 410 | 1/cm | 0.89 | 45.1 | 1/cm | ex vivo, human, media from Keijzer 1993
1990 | Cheong | 580 | nm | 4.8 |  | 1/cm | 331 | 1/cm | 0.9 | 33.1 | 1/cm | ex vivo, human, media from Keijzer 1994
1990 | Cheong | 600 | nm | 2.5 |  | 1/cm | 323 | 1/cm | 0.89 | 35.5 | 1/cm | ex vivo, human, media from Keijzer 1995
1990 | Cheong | 633 | nm | 2.3 |  | 1/cm | 310 | 1/cm | 0.9 | 31 | 1/cm | ex vivo, human, media from Keijzer 1996
1990 | Cheong | 476 | nm | 18.1 |  | 1/cm | 267 | 1/cm | 0.74 | 69.4 | 1/cm | ex vivo, human, adventitia from Keijzer 1997
1990 | Cheong | 580 | nm | 11.3 |  | 1/cm | 217 | 1/cm | 0.77 | 49.9 | 1/cm | ex vivo, human, adventitia from Keijzer 1998
1990 | Cheong | 600 | nm | 6.1 |  | 1/cm | 211 | 1/cm | 0.78 | 46.4 | 1/cm | ex vivo, human, adventitia from Keijzer 1999
1990 | Cheong | 633 | nm | 5.8 |  | 1/cm | 195 | 1/cm | 0.81 | 37.1 | 1/cm | ex vivo, human, adventitia from Keijzer 2000
1990 | Cheong | 1060 | nm | 2 |  | 1/cm | [5 empty] | ex vivo, human, from MacLeod 1988

## Bladder
year | source | wavelength |  | absorbance |  | scattering |  | anisotropy | reduced scattering |  | note
1990 | Cheong | 630 | nm | 0.6 | 1/cm | 59 | 1/cm | 0.85 | 8.85 | 1/cm | ex vivo, dog, from Star 1987
1990 | Cheong | 633 | nm | 1.25 | 1/cm | 50.8 | 1/cm | 0.95 | 2.54 | 1/cm | ex vivo, dog, from Splinter 1989
1990 | Cheong | 632.8 | nm | 1.1 | 1/cm | 44 | 1/cm | 0.92 | 3.52 | 1/cm | ex vivo, dog, from Cheong 1987
1990 | Cheong | 632.8 | nm | 1.4 | 1/cm | 88 | 1/cm | 0.96 | 3.52 | 1/cm | ex vivo, human, from Cheong 1987
1990 | Cheong | 633 | nm | 1.4 | 1/cm | 29.3 | 1/cm | 0.91 | 2.64 | 1/cm | ex vivo, human, from Splinter 1989
2011 | Sandell | 532 | nm | 0.49 | 1/cm |  |  |  | 1.79 | 1/cm | in vivo, human, given as 0.27-0.71 and 1.28-3.30 respectively, from Beck 2003
2011 | Sandell | 630 | nm | 0.52 | 1/cm |  |  |  | 4.435 | 1/cm | in vivo, human, given as 0.28-0.76 and 2.5-6.37 respectively, from Beck 2003

## Blood
year | source | wavelength |  | absorbance |  | scattering |  | anisotropy | reduced scattering |  | note
1990 | Cheong | 685 | nm | 2.65 | 1/cm | 1413 | 1/cm | 0.99 |  |  | ex vivo, human, whole, HbO2, Hct = 0.41, from Pedersen 1976
1990 | Cheong | 665 | nm | 1.3 | 1/cm | 1246 | 1/cm | 0.995 | 6.11 | 1/cm | ex vivo, human, whole, HbO2, Hct = 0.41, from Reynolds 1976
1990 | Cheong | 960 | nm | 2.84 | 1/cm | 505 | 1/cm | 0.992 | 3.84 | 1/cm | ex vivo, human, whole, HbO2, Hct = 0.41, from Reynolds 1976
1990 | Cheong | 665 | nm | 4.87 | 1/cm | 509 | 1/cm | 0.995 | 2.49 | 1/cm | ex vivo, human, whole, HbO2, Hct = 0.41, from Reynolds 1976
1990 | Cheong | 960 | nm | 1.68 | 1/cm | 668 | 1/cm | 0.992 | 5.08 | 1/cm | ex vivo, human, whole, HbO2, Hct = 0.41, from Reynolds 1976
1990 | Cheong | 633 | nm |  |  |  |  | 0.974 |  |  | ex vivo, human, whole, HbO2,from Flock 1987
1990 | Cheong | 632.8 | nm |  |  |  |  | 0.9845 |  |  | ex vivo, dog, from Steinke 1988
1990 | Cheong | 660 | nm |  |  |  |  | 0.984 |  |  | ex vivo, dog, from Steinke 1988
1990 | Cheong | 800 | nm |  |  |  |  | 0.98 |  |  | ex vivo, dog, from Steinke 1988
2005 | Alexandrakis | 590 | nm | [5 empty] | 1.9728 | 1/mm | mouse estimate, calculated from parameters a = 133/mm, b =0.66, S_B = 1.0, x = 0.75, S_W = 0
2005 | Alexandrakis | 610 | nm | [5 empty] | 1.9299 | 1/mm | mouse estimate, calculated from parameters a = 133/mm, b =0.66, S_B = 1.0, x = 0.75, S_W = 0
2005 | Alexandrakis | 630 | nm | [5 empty] | 1.8892 | 1/mm | mouse estimate, calculated from parameters a = 133/mm, b =0.66, S_B = 1.0, x = 0.75, S_W = 0
2005 | Alexandrakis | 650 | nm | [5 empty] | 1.8507 | 1/mm | mouse estimate, calculated from parameters a = 133/mm, b =0.66, S_B = 1.0, x = 0.75, S_W = 0

## Bone
year | source | wavelength |  | absorbance |  | scattering |  | anisotropy | reduced scattering |  | note
1993 | Firbank | [9 empty] | physical and chemical composition of bone of large mammals does not vary greatly
1993 | Firbank | 650 | nm | 0.04 | 1/mm | 35 | 1/mm | 0.925 | 2.6 | 1/mm | ex vivo, pig, skull, Firbank 1993
1993 | Firbank | 700 | nm | 0.025 | 1/mm | 32.5 | 1/mm | 0.93 | 2.25 | 1/mm | ex vivo, pig, skull, Firbank 1993
1993 | Firbank | 750 | nm | 0.025 | 1/mm | 30 | 1/mm | 0.935 | 2 | 1/mm | ex vivo, pig, skull, Firbank 1993
1993 | Firbank | 800 | nm | 0.025 | 1/mm | 29 | 1/mm | 0.935 | 1.8 | 1/mm | ex vivo, pig, skull, Firbank 1993
1993 | Firbank | 850 | nm | 0.025 | 1/mm | 27 | 1/mm | 0.935 | 1.75 | 1/mm | ex vivo, pig, skull, Firbank 1993
1993 | Firbank | 900 | nm | 0.035 | 1/mm | 25 | 1/mm | 0.945 | 1.6 | 1/mm | ex vivo, pig, skull, Firbank 1993
1993 | Firbank | 950 | nm | 0.05 | 1/mm | 24 | 1/mm | 0.945 | 1.5 | 1/mm | ex vivo, pig, skull, Firbank 1993
2005 | Alexandrakis | 590 | nm | 6.7027 | 1/cm |  |  |  | 3.0081 | 1/mm | mouse estimate, calculated from parameters a = 35600/mm, b = 1.47, S_B = 0.049, x = 0.8, S_W = 0.15
2005 | Alexandrakis | 610 | nm | 2.0622 | 1/cm |  |  |  | 2.8643 | 1/mm | mouse estimate, calculated from parameters a = 35600/mm, b = 1.47, S_B = 0.049, x = 0.8, S_W = 0.15
2005 | Alexandrakis | 630 | nm | 1.1136 | 1/cm |  |  |  | 2.7316 | 1/mm | mouse estimate, calculated from parameters a = 35600/mm, b = 1.47, S_B = 0.049, x = 0.8, S_W = 0.15
2005 | Alexandrakis | 650 | nm | 0.80695 | 1/cm |  |  |  | 2.609 | 1/mm | mouse estimate, calculated from parameters a = 35600/mm, b = 1.47, S_B = 0.049, x = 0.8, S_W = 0.15
2011 | Sandell | 650 | nm | 0.115 | 1/cm |  |  |  | 14.15 | 1/cm | in vivo, human, given as 0.09-0.14 and 12.5-15.8 respectively, from Pifferi 2004
2011 | Sandell | 760 | nm | 0.08 | 1/cm |  |  |  | 13 | 1/cm | in vivo, human, given as 0.07-0.09 and 11.9-14.1 respectively, from Pifferi 2004
2013 | Jacques | 590 | nm | [5 empty] | 9.2809 | 1/cm | human, bevilacqua 2000
2013 | Jacques | 610 | nm | [5 empty] | 9.2373 | 1/cm | human, bevilacqua 2000
2013 | Jacques | 630 | nm | [5 empty] | 9.1954 | 1/cm | human, bevilacqua 2000
2013 | Jacques | 650 | nm | [5 empty] | 9.155 | 1/cm | human, bevilacqua 2000

## Bowel
year | source | wavelength |  | absorbance |  | scattering | anisotropy | reduced scattering |  | note
2005 | Alexandrakis | 590 | nm | 1.2728 | 1/cm |  |  | 1.3453 | 1/mm | mouse estimate, calculated from parameters a = 3670/mm, b = 1.24, S_B = 0.0093, x = 0.8, S_W = 0.5
2005 | Alexandrakis | 610 | nm | 0.39265 | 1/cm |  |  | 1.2908 | 1/mm | mouse estimate, calculated from parameters a = 3670/mm, b = 1.24, S_B = 0.0093, x = 0.8, S_W = 0.5
2005 | Alexandrakis | 630 | nm | 0.21274 | 1/cm |  |  | 1.2402 | 1/mm | mouse estimate, calculated from parameters a = 3670/mm, b = 1.24, S_B = 0.0093, x = 0.8, S_W = 0.5
2005 | Alexandrakis | 650 | nm | 0.15476 | 1/cm |  |  | 1.193 | 1/mm | mouse estimate, calculated from parameters a = 3670/mm, b = 1.24, S_B = 0.0093, x = 0.8, S_W = 0.5
2011 | Sandell | 630 | nm | 0.2 | 1/cm |  |  | 9.5 | 1/cm | in vivo, human, small, given as 0.19-0.21 and 8.95-10.05 respectively, from Wang 2005
2011 | Sandell | 630 | nm | 0.15 | 1/cm |  |  | 10.265 | 1/cm | in vivo, human, large, given as 0.12-0.18 and 10.11-10.42 respectively, from Wang 2005

## Brain
year | source | wavelength |  | absorbance |  | scattering |  | anisotropy | reduced scattering |  | note
1990 | Cheong | 633 | nm | 2.02 | 1/cm | 90.2 | 1/cm | 0.93 | 6.31 | 1/cm | ex vivo, dog, white matter, from Splinter 1989
1990 | Cheong | 633 | nm | 1.65 | 1/cm | 56.3 | 1/cm | 0.97 | 1.97 | 1/cm | ex vivo, dog, grey matter, from Splinter 1989
1990 | Cheong | 633 | nm | 0.19 | 1/cm |  |  |  | 6.6 | 1/cm | ex vivo, cow, calf, from Karagiannes 1989
1990 | Cheong | 1064 | nm | 0.36 | 1/cm |  |  |  | 6.7 | 1/cm | ex vivo, cow, calf, from Karagiannes 1989
1990 | Cheong | 1320 | nm | 0.84 | 1/cm |  |  |  | 5.4 | 1/cm | ex vivo, cow, calf, from Karagiannes 1989
1990 | Cheong | 633 | nm | 0.26 | 1/cm | 1037 | 1/cm | 0.945 | 57 | 1/cm | ex vivo, pig, from Wilson 1986
1990 | Cheong | 630 | nm | 0.64 | 1/cm |  |  |  | 52 | 1/cm | ex vivo, pig, from Preuss 1982
1990 | Cheong | 630 | nm |  |  |  |  | 0.945 |  |  | ex vivo, pig, from Flock 1987
1990 | Cheong | 630 | nm | 0.65 | 1/cm |  |  |  | 35 | 1/cm | ex vivo, human, specified as 0.3-1.0 and 30-40 respectively, from Svaasand 1983
1990 | Cheong | 633 | nm | 1.58 | 1/cm | 51 | 1/cm | 0.96 | 2.04 | 1/cm | ex vivo, human, white matter, from Splinter 1989
1990 | Cheong | 633 | nm | 2.63 | 1/cm | 60.2 | 1/cm | 0.88 | 7.22 | 1/cm | ex vivo, human, grey matter, from Splinter 1989
2011 | Sandell | 420 | nm | 1.76 | 1/cm |  |  |  | 37.29 | 1/cm | in vivo, human, given as 0.01-3.51 and 18.75-55.83 respectively, from Beck 2003
2011 | Sandell | 532 | nm | 1.93 | 1/cm |  |  |  | 23.25 | 1/cm | in vivo, human, given as 0.02-3.84 and 0.1-46.3 respectively, from Beck 2003
2011 | Sandell | 630 | nm | 0.26 | 1/cm |  |  |  | 12.845 | 1/cm | in vivo, human, given as 0.02-0.5 and 3.72-21.97 respectively, from Beck 2003
2011 | Sandell | 760 | nm | 0.14 | 1/cm |  |  |  | 7.25 | 1/cm | in vivo, human, given as 0.11-0.17 and 4-10.5 respectively, from Ijichi 2005
2011 | Sandell | 780 | nm | 0.0835 | 1/cm |  |  |  | 8.79 | 1/cm | in vivo, human, given as 0.078-0.089 and 8.42-9.16 respectively, from Zhao 2005
2013 | Jacques | 590 | nm | [5 empty] | 10.3138 | 1/cm | human, frontal cortex, bevilacqua 2003
2013 | Jacques | 610 | nm | [5 empty] | 10.1996 | 1/cm | human, frontal cortex, bevilacqua 2003
2013 | Jacques | 630 | nm | [5 empty] | 10.0903 | 1/cm | human, frontal cortex, bevilacqua 2003
2013 | Jacques | 650 | nm | [5 empty] | 9.9855 | 1/cm | human, frontal cortex, bevilacqua 2003
2013 | Jacques | 590 | nm | [5 empty] | 10.5016 | 1/cm | human, temporal cortex, bevilacqua 2003
2013 | Jacques | 610 | nm | [5 empty] | 10.2933 | 1/cm | human, temporal cortex, bevilacqua 2003
2013 | Jacques | 630 | nm | [5 empty] | 10.0957 | 1/cm | human, temporal cortex, bevilacqua 2003
2013 | Jacques | 650 | nm | [5 empty] | 9.9078 | 1/cm | human, temporal cortex, bevilacqua 2003
2013 | Jacques | 590 | nm | [5 empty] | 16.4188 | 1/cm | human, cerebellar white, Bevilacqua 2000
2013 | Jacques | 610 | nm | [5 empty] | 15.551 | 1/cm | human, cerebellar white, Bevilacqua 2001
2013 | Jacques | 630 | nm | [5 empty] | 14.7549 | 1/cm | human, cerebellar white, Bevilacqua 2002
2013 | Jacques | 650 | nm | [5 empty] | 14.0225 | 1/cm | human, cerebellar white, Bevilacqua 2003
2013 | Jacques | 590 | nm | [5 empty] | 17.5451 | 1/cm | human, brain, Yi 2012
2013 | Jacques | 610 | nm | [5 empty] | 16.8571 | 1/cm | human, brain, Yi 2012
2013 | Jacques | 630 | nm | [5 empty] | 16.2169 | 1/cm | human, brain, Yi 2012
2013 | Jacques | 650 | nm | [5 empty] | 15.62 | 1/cm | human, brain, Yi 2012
2011 | Welch | 674 | nm | 2.5 | 1/cm | [5 empty] | human, white, Bevilacqua 1999
2011 | Welch | 849 | nm | 0.95 | 1/cm | [5 empty] | human, white, Bevilacqua 1999
2011 | Welch | 956 | nm | 0.9 | 1/cm | [5 empty] | human, white, Bevilacqua 1999
2011 | Welch | 674 | nm | 0.2 | 1/cm | [5 empty] | human, white, Bevilacqua 1999
2011 | Welch | 811 | nm | 0.2 | 1/cm | [5 empty] | human, white, Bevilacqua 1999

## Heart
year | source | wavelength |  | absorbance |  | scattering |  | anisotropy | reduced scattering |  | note
1990 | Cheong | 1060 | nm | 0.07 | 1/cm | 136 | 1/cm | 0.973 |  |  | ex vivo, human, endocardium, from Splinter 1989
1990 | Cheong | 1060 | nm | 0.35 | 1/cm | 167 | 1/cm | 0.983 |  |  | ex vivo, human, epicardium, from Splinter 1989
2005 | Alexandrakis | 590 | nm | 6.6536 | 1/cm |  |  |  | 1.1561 | 1/mm | mouse estimate, calculated from parameters a = 10600/mm, b = 1.43, S_B = 0.05, x = 0.75, S_W = 0.5
2005 | Alexandrakis | 610 | nm | 1.9989 | 1/cm |  |  |  | 1.1023 | 1/mm | mouse estimate, calculated from parameters a = 10600/mm, b = 1.43, S_B = 0.05, x = 0.75, S_W = 0.5
2005 | Alexandrakis | 630 | nm | 1.0766 | 1/cm |  |  |  | 1.0526 | 1/mm | mouse estimate, calculated from parameters a = 10600/mm, b = 1.43, S_B = 0.05, x = 0.75, S_W = 0.5
2005 | Alexandrakis | 650 | nm | 0.77933 | 1/cm |  |  |  | 1.0066 | 1/mm | mouse estimate, calculated from parameters a = 10600/mm, b = 1.43, S_B = 0.05, x = 0.75, S_W = 0.5
2006 | Wang | 675 | nm | 0.11 | 1/cm |  |  |  | 1.1 | 1/mm | mouse estimate, for range 650-700 nm
2011 | Sandell | 630 | nm | 0.79 | 1/cm |  |  |  | 46.31 | 1/cm | in vivo, human, given as 0.03-1.55 and 17.56-75.06 respectively, from Dimofte 2009
2011 | Sandell | 661 | nm | 0.15 | 1/cm |  |  |  | 48.01 | 1/cm | in vivo, human, given as 0.12-0.18 and 10.11-10.42 respectively, from Dimofte 2010
2006 | Wang | 650 | nm | 0.11 | 1/mm |  |  |  | 1.1 | 1/mm | mouse

## Kidney
year | source | wavelength |  | absorbance |  | scattering | anisotropy | reduced scattering |  | note
2005 | Alexandrakis | 590 | nm | 7.4523 | 1/cm |  |  | 2.7299 | 1/mm | mouse estimate, calculated from parameters a = 41700/mm, b = 1.51, S_B = 0.056, x = 0.75, S_W = 0.8
2005 | Alexandrakis | 610 | nm | 2.2395 | 1/cm |  |  | 2.5959 | 1/mm | mouse estimate, calculated from parameters a = 41700/mm, b = 1.51, S_B = 0.056, x = 0.75, S_W = 0.8
2005 | Alexandrakis | 630 | nm | 1.2065 | 1/cm |  |  | 2.4725 | 1/mm | mouse estimate, calculated from parameters a = 41700/mm, b = 1.51, S_B = 0.056, x = 0.75, S_W = 0.8
2005 | Alexandrakis | 650 | nm | 0.87366 | 1/cm |  |  | 2.3585 | 1/mm | mouse estimate, calculated from parameters a = 41700/mm, b = 1.51, S_B = 0.056, x = 0.75, S_W = 0.8
2006 | Wang | 650 | nm | 0.12 | 1/mm |  |  | 1.2 | 1/mm | mouse estimate, for range 650-700 nm

## Liver
year | source | wavelength |  | absorbance |  | scattering |  | anisotropy | reduced scattering |  | note
1990 | Cheong | 633 | nm | 3.21 | 1/cm |  |  |  | 5.23 | 1/cm | ex vivo, cow, from Karagiannes 1989
1990 | Cheong | 1064 | nm | 0.53 | 1/cm |  |  |  | 1.76 | 1/cm | ex vivo, cow, from Karagiannes 1989
1990 | Cheong | 1320 | nm | 0.7 | 1/cm |  |  |  | 1.2 | 1/cm | ex vivo, cow, from Karagiannes 1989
1990 | Cheong | 630 | nm | 3.2 | 1/cm | 414 | 1/cm | 0.95 |  |  | ex vivo, human, from Andreola 1988
1990 | Cheong | 635 | nm | 2.3 | 1/cm | 313 | 1/cm | 0.68 |  |  | ex vivo, human, from Marchesini 1989
1990 | Cheong | 515 | nm | 18.9 | 1/cm | 285 | 1/cm |  |  |  | ex vivo, human, from Marchesini 1989
1990 | Cheong | 488 | nm | 12.2 | 1/cm | 173.5 | 1/cm | 0.93 |  |  | ex vivo, mouse, albino, from Parsa 1989
1990 | Cheong | 633 | nm | 6.5 | 1/cm | 143.7 | 1/cm | 0.95 |  |  | ex vivo, mouse, albino, from Parsa 1989
1990 | Cheong | 800 | nm | 5.7 | 1/cm | 97 | 1/cm | 0.94 |  |  | ex vivo, mouse, albino, from Parsa 1989
1990 | Cheong | 1064 | nm | 5.9 | 1/cm | 60.9 | 1/cm | 0.92 |  |  | ex vivo, mouse, albino, from Parsa 1989
1990 | Cheong | 1320 | nm | 6.6 | 1/cm | 44.2 | 1/cm | 0.91 |  |  | ex vivo, mouse, albino, from Parsa 1989
1990 | Cheong | 2100 | nm | 27.2 | 1/cm | 24.5 | 1/cm | 0.8 |  |  | ex vivo, mouse, albino, from Parsa 1989
1990 | Cheong | 630 | nm | 2.7 | 1/cm |  |  |  | 17 | 1/cm | ex vivo, pig, from Wilson 1986
1990 | Cheong | 1060 | nm | 10 | 1/cm | [5 empty] | ex vivo, rabbit, from MacLeod 1988
1996 | Kienle | 633 | nm | 0.3 | 1/mm |  |  |  | 1.01 | 1/mm | ex vivo, cow
1996 | Kienle | 751 | nm | 0.17 | 1/mm |  |  |  | 0.32 | 1/mm | ex vivo, cow
2005 | Alexandrakis | 590 | nm | 39.9182 | 1/cm |  |  |  | 0.77492 | 1/mm | mouse estimate, calculated from parameters a = 629/mm, b =1.05, S_B = 0.30, x = 0.75, S_W = 0.7
2005 | Alexandrakis | 610 | nm | 11.9876 | 1/cm |  |  |  | 0.74826 | 1/mm | mouse estimate, calculated from parameters a = 629/mm, b =1.05, S_B = 0.30, x = 0.75, S_W = 0.7
2005 | Alexandrakis | 630 | nm | 6.4528 | 1/cm |  |  |  | 0.72334 | 1/mm | mouse estimate, calculated from parameters a = 629/mm, b =1.05, S_B = 0.30, x = 0.75, S_W = 0.7
2005 | Alexandrakis | 650 | nm | 4.6681 | 1/cm |  |  |  | 0.69999 | 1/mm | mouse estimate, calculated from parameters a = 629/mm, b =1.05, S_B = 0.30, x = 0.75, S_W = 0.7
2006 | Wang | 675 | nm | 0.45 | 1/mm |  |  |  | 2 | 1/mm | mouse estimate, for range 650-700 nm
2011 | Sandell | 630 | nm | 1.355 | 1/cm |  |  |  | 26 | 1/cm | in vivo, human, given as 1.15-1.56 and 21.6-30.4 respectively, from Wang 2005
2013 | Jacques | 590 | nm | [5 empty] | 8.1263 | 1/cm | human, Parsa 1989
2013 | Jacques | 610 | nm | [5 empty] | 7.9608 | 1/cm | human, Parsa 1989
2013 | Jacques | 630 | nm | [5 empty] | 7.8039 | 1/cm | human, Parsa 1989
2013 | Jacques | 650 | nm | [5 empty] | 7.6549 | 1/cm | human, Parsa 1989
2006 | Wang | 650 | nm | 0.45 | 1/mm |  |  |  | 2 | 1/mm | mouse

## Lung
year | source | wavelength |  | absorbance |  | scattering |  | anisotropy | reduced scattering |  | note
1990 | Cheong | 635 | nm | 8.1 | 1/cm | 324 | 1/cm | 0.75 |  |  | ex vivo, human, from Marchesini 1989
1990 | Cheong | 515 | nm | 25.5 | 1/cm | 356 | 1/cm |  |  |  | ex vivo, human, from Marchesini 1989
1990 | Cheong | 630 | nm | 8.4 | 1/cm | 35.9 | 1/cm | 0.95 |  |  | ex vivo, human, from Andreola 1988
2005 | Alexandrakis | 590 | nm | 21.0783 | 1/cm |  |  |  | 2.3254 | 1/mm | mouse estimate, calculated from parameters a = 68.4/mm, b =0.53, S_B = 0.15, x = 0.85, S_W = 0.85
2005 | Alexandrakis | 610 | nm | 6.6328 | 1/cm |  |  |  | 2.2847 | 1/mm | mouse estimate, calculated from parameters a = 68.4/mm, b =0.53, S_B = 0.15, x = 0.85, S_W = 0.85
2005 | Alexandrakis | 630 | nm | 3.5925 | 1/cm |  |  |  | 2.246 | 1/mm | mouse estimate, calculated from parameters a = 68.4/mm, b =0.53, S_B = 0.15, x = 0.85, S_W = 0.85
2005 | Alexandrakis | 650 | nm | 2.6074 | 1/cm |  |  |  | 2.2091 | 1/mm | mouse estimate, calculated from parameters a = 68.4/mm, b =0.53, S_B = 0.15, x = 0.85, S_W = 0.85
2006 | Wang | 675 | nm | 0.35 | 1/mm |  |  |  | 2.3 | 1/mm | mouse estimate, for range 650-700 nm
2011 | Sandell | 630 | nm | 0.76 | 1/cm |  |  |  | 42.44 | 1/cm | in vivo, human, given as 0.16-1.36 and 1.07-83.81 respectively, from Dimofte 2009
2011 | Sandell | 661 | nm | 0.685 | 1/cm |  |  |  | 21.83 | 1/cm | in vivo, human, given as 0.49-0.88 and 21.14-22.52 respectively, from Dimofte 2010
2006 | Wang | 650 | nm | 0.35 | 1/mm |  |  |  | 2.3 | 1/mm | mouse

## Muscle
year | source | wavelength |  | absorbance |  | scattering |  | anisotropy | reduced scattering |  | note
1990 | Cheong | 630 | nm |  |  |  |  | 0.965 |  |  | ex vivo, chicken, from Flock 1987
1990 | Cheong | 515 | nm | 11.2 | 1/cm | 530 | 1/cm |  |  |  | ex vivo, human, from Marchesini 1989
1990 | Cheong | 633 | nm | 1 | 1/cm | 40 | 1/cm | 0.97 | 1.2 | 1/cm | ex vivo, pig, from Wilksch 1984
1990 | Cheong | 1060 | nm | 2 | 1/cm | [5 empty] | ex vivo, pig, from MacLeod 1988
1990 | Cheong | 633 | nm | 0.4 | 1/cm | 7.9 | 1/cm | 0.3 | 5.53 | 1/cm | ex vivo, cow, from Marijnissen 1987
1990 | Cheong | 633 | nm | 1.5 | 1/cm | 119 | 1/cm | 0.941 | 7 | 1/cm | ex vivo, cow, from Wilson 1986
1990 | Cheong | 630 | nm |  |  |  |  | 0.941 |  |  | ex vivo, cow, from Flock 1987
1990 | Cheong | 630 | nm | 3.5 | 1/cm | 45 | 1/cm |  |  |  | ex vivo, cow, from McKenzie 1988
1990 | Cheong | 633 | nm | 1.7 | 1/cm |  |  |  | 4.4 | 1/cm | ex vivo, cow, from Karagiannes 1989
1990 | Cheong | 1064 | nm | 1.2 | 1/cm |  |  |  | 2.8 | 1/cm | ex vivo, cow, from Karagiannes 1989
1990 | Cheong | 1320 | nm | 2.3 | 1/cm |  |  |  | 2.4 | 1/cm | ex vivo, cow, from Karagiannes 1989
1990 | Cheong | 633 | nm | 0.17 | 1/cm | 4.1 | 1/cm | 0.2 | 3.3 | 1/cm | in situ, chicken, from Marijnissen 1985
1990 | Cheong | 633 | nm | 0.12 | 1/cm | 229 | 1/cm | 0.965 | 8 | 1/cm | ex vivo, chicken, from Wilson 1986
1996 | Kienle | 633 | nm | 0.096 | 1/mm |  |  |  | 0.53 | 1/mm | ex vivo, cow
1996 | Kienle | 751 | nm | 0.037 | 1/mm |  |  |  | 0.34 | 1/mm | ex vivo, cow
2005 | Alexandrakis | 590 | nm | [5 empty] | 0.61413 | 1/mm | mouse estimate, calculated from parameters a = 4e7/mm, b =2.82, S_B = 0.07, x = 0.8, S_W = 0.5
2005 | Alexandrakis | 610 | nm | [5 empty] | 0.55902 | 1/mm | mouse estimate, calculated from parameters a = 4e7/mm, b =2.82, S_B = 0.07, x = 0.8, S_W = 0.5
2005 | Alexandrakis | 630 | nm | [5 empty] | 0.51041 | 1/mm | mouse estimate, calculated from parameters a = 4e7/mm, b =2.82, S_B = 0.07, x = 0.8, S_W = 0.5
2005 | Alexandrakis | 650 | nm | [5 empty] | 0.46735 | 1/mm | mouse estimate, calculated from parameters a = 4e7/mm, b =2.82, S_B = 0.07, x = 0.8, S_W = 0.5
2006 | Wang | 675 | nm | 0.23 | 1/mm |  |  |  | 1 | 1/mm | mouse estimate, for range 650-700 nm
2011 | Bashkatov | 633 | nm | 2016-01-23 | 1/cm |  |  |  | 8.94 | 1/cm | ex vivo, human
2011 | Bashkatov | 700 | nm | 0.48 | 1/cm |  |  |  | 8.18 | 1/cm | ex vivo, human
2011 | Bashkatov | 750 | nm | 0.41 | 1/cm |  |  |  | 7.71 | 1/cm | ex vivo, human
2011 | Bashkatov | 800 | nm | 0.28 | 1/cm |  |  |  | 7.04 | 1/cm | ex vivo, human
2011 | Bashkatov | 630 | nm | 1.4 | 1/cm | 110 | 1/cm | 0.846 | 16.5 | 1/cm | ex vivo, rabbit
2011 | Bashkatov | 632.8 | nm | 0.74 | 1/cm | 140 | 1/cm | 0.968 | 4.4 | 1/cm | ex vivo, rabbit
2011 | Bashkatov | 790 | nm | 2.3 | 1/cm | 157 | 1/cm | 0.95 | 6.8 | 1/cm | ex vivo, rabbit
2011 | Bashkatov | 630 | nm | 1.2 | 1/cm | 239 | 1/cm | 0.732 | 62.1 | 1/cm | ex vivo, piglet
2011 | Bashkatov | 632.8 | nm | 0.59 | 1/cm | 179 | 1/cm | 0.858 | 24.7 | 1/cm | ex vivo, piglet
2011 | Bashkatov | 500 | nm | 1.17 | 1/cm | 89.2 | 1/cm | 0.903 |  |  | ex vivo, rat, muscle
2011 | Bashkatov | 550 | nm | 1.66 | 1/cm | 88.2 | 1/cm | 0.909 |  |  | ex vivo, rat, muscle
2011 | Bashkatov | 600 | nm | 0.95 | 1/cm | 83.3 | 1/cm | 0.926 |  |  | ex vivo, rat muscle
2011 | Bashkatov | 650 | nm | 0.56 | 1/cm | 79 | 1/cm | 0.93 |  |  | ex vivo, rat muscle
2011 | Bashkatov | 700 | nm | 0.52 | 1/cm | 73.56 | 1/cm | 0.93 |  |  | ex vivo, rat muscle
2011 | Bashkatov | 750 | nm | 0.52 | 1/cm | 71.3 | 1/cm | 0.931 |  |  | ex vivo, rat muscle
2011 | Bashkatov | 800 | nm | 0.54 | 1/cm | 66.7 | 1/cm | 0.93 |  |  | ex vivo, rat muscle
2011 | Bashkatov | 500 | nm | 1.49 | 1/cm |  |  |  | 8.22 | 1/cm | ex vivo, beef muscle
2011 | Bashkatov | 550 | nm | 1.43 | 1/cm |  |  |  | 5.55 | 1/cm | ex vivo, beef muscle
2011 | Bashkatov | 600 | nm | 1.39 | 1/cm |  |  |  | 6.72 | 1/cm | ex vivo, beef muscle
2011 | Bashkatov | 650 | nm | 0.41 | 1/cm |  |  |  | 6.11 | 1/cm | ex vivo, beef muscle
2011 | Bashkatov | 700 | nm | 0.16 | 1/cm |  |  |  | 5.56 | 1/cm | ex vivo, beef muscle
2011 | Bashkatov | 750 | nm | 0.11 | 1/cm |  |  |  | 5.11 | 1/cm | ex vivo, beef muscle

## Skin
year | source | wavelength |  | absorbance |  | scattering |  | anisotropy | reduced scattering |  | note
1987 | Jacques | 488 | nm | 2.8 | 1/cm | 239 | 1/cm | 0.74 |  |  | ex vivo, mouse, dermis, albino, mean of 21 measurements, see appendix A for individual results
1990 | Cheong | 630 | nm | 2.5 | 1/cm | [5 empty] | ex vivo, human, dermis, calculated from u_a = A_km/2, and S_km = 60, from Anderson 1981
1990 | Cheong | 415 | nm | 10 | 1/cm | [5 empty] | ex vivo, human, dermis, calculated from u_a = A_km/2, and S_km = 138, from van Genert 1986
1990 | Cheong | 500 | nm | 5.65 | 1/cm | [5 empty] | ex vivo, human, dermis, calculated from u_a = A_km/2, and S_km = 90.8, from van Genert 1986
1990 | Cheong | 540 | nm | 4.5 | 1/cm | [5 empty] | ex vivo, human, dermis, calculated from u_a = A_km/2, and S_km = 78, from van Genert 1986
1990 | Cheong | 577 | nm | 3.75 | 1/cm | [5 empty] | ex vivo, human, dermis, calculated from u_a = A_km/2, and S_km = 69, from van Genert 1986
1990 | Cheong | 694 | nm | 3.4 | 1/cm | [5 empty] | ex vivo, human, dermis, calculated from u_a = A_km/2, and S_km = 55.3, from van Genert 1986
1990 | Cheong | 1060 | nm | 3 | 1/cm | [5 empty] | ex vivo, human, dermis, calculated from u_a = A_km/2, and S_km = 35, from van Genert 1986
1990 | Cheong | 630 | nm | 10 | 1/cm | [5 empty] | ex vivo, human, dermis, calculated from u_a = A_km/2, and S_km = 40, from Wan 1981
1990 | Cheong | 415 | nm | 25.85 | 1/cm | [5 empty] | ex vivo, human, epidermis, calculated from u_a = A_km/2, and S_km = 44, from van Genert 1986
1990 | Cheong | 500 | nm | 18.35 | 1/cm | [5 empty] | ex vivo, human, epidermis, calculated from u_a = A_km/2, and S_km = 36.7, from van Genert 1986
1990 | Cheong | 540 | nm | 16.65 | 1/cm | [5 empty] | ex vivo, human, epidermis, calculated from u_a = A_km/2, and S_km = 33.3, from van Genert 1986
1990 | Cheong | 577 | nm | 15 | 1/cm | [5 empty] | ex vivo, human, epidermis, calculated from u_a = A_km/2, and S_km = 30, from van Genert 1986
1990 | Cheong | 694 | nm | 13.35 | 1/cm | [5 empty] | ex vivo, human, epidermis, calculated from u_a = A_km/2, and S_km = 24, from van Genert 1986
1990 | Cheong | 1060 | nm | 10 | 1/cm | [5 empty] | ex vivo, human, epidermis, calculated from u_a = A_km/2, and S_km = 16, from van Genert 1986
1990 | Cheong | 630 | nm | 1.8 | 1/cm | [5 empty] | ex vivo, human, dermis, from Andreola 1988
1990 | Cheong | 633 | nm | 2.7 | 1/cm | 187 | 1/cm | 0.81 | 35.5 | 1/cm | ex vivo, human, dermis, caucasian, from Jacques 1987
1990 | Cheong | 635 | nm | 1.8 | 1/cm | 244 | 1/cm |  |  |  | ex vivo, human, dermis, from Marchesini 1989
1990 | Cheong | 193 | nm | 6000 | 1/cm | [5 empty] | ex vivo, human, stratum corneum, from Watanabe 1988
2005 | Alexandrakis | 590 | nm | [5 empty] | 2.5522 | 1/mm | mouse estimate, calculated from parameters a = 2850/mm, b =1.1, S_B = 0.06, x = 0.75, S_W = 0.5
2005 | Alexandrakis | 610 | nm | [5 empty] | 2.4603 | 1/mm | mouse estimate, calculated from parameters a = 2850/mm, b =1.1, S_B = 0.06, x = 0.75, S_W = 0.5
2005 | Alexandrakis | 630 | nm | [5 empty] | 2.3745 | 1/mm | mouse estimate, calculated from parameters a = 2850/mm, b =1.1, S_B = 0.06, x = 0.75, S_W = 0.5
2005 | Alexandrakis | 650 | nm | [5 empty] | 2.2942 | 1/mm | mouse estimate, calculated from parameters a = 2850/mm, b =1.1, S_B = 0.06, x = 0.75, S_W = 0.5
2011 | Sandell | 630 | nm | 0.58 | 1/cm |  |  |  | 11.605 | 1/cm | in vivo, human, given as 0.05-1.11 and 2.26-20.95 respectively, from Larsson 2003)
2011 | Sandell | 661 | nm | 0.575 | 1/cm |  |  |  | 4.005 | 1/cm | in vivo, human, given as 0.51-0.64 and 2.24-5.77 respectively, from Rajaram 2009
2011 | Sandell | 800 | nm | 0.195 | 1/cm |  |  |  | 8.32 | 1/cm | in vivo, human, given as 0.16-0.23 and 6.8-9.84 respectively, from Rajaram 2009
2011 | Bashkatov | 400 | nm | 3.76 | 1/cm |  |  |  | 71.8 | 1/cm | ex vivo, human, caucasian, IS, IAD, from Bashkatov 2005
2011 | Bashkatov | 500 | nm | 1.19 | 1/cm |  |  |  | 32.5 | 1/cm | ex vivo, human, caucasian, IS, IAD, from Bashkatov 2005
2011 | Bashkatov | 600 | nm | 0.69 | 1/cm |  |  |  | 21.8 | 1/cm | ex vivo, human, caucasian, IS, IAD, from Bashkatov 2005
2011 | Bashkatov | 700 | nm | 0.48 | 1/cm |  |  |  | 16.7 | 1/cm | ex vivo, human, caucasian, IS, IAD, from Bashkatov 2005
2011 | Bashkatov | 400 | nm | 13.48 | 1/cm |  |  |  | 34.28 | 1/cm | ex vivo, human, caucasian, IS, IAD, from Chan 1996
2011 | Bashkatov | 500 | nm | 6.19 | 1/cm |  |  |  | 25.05 | 1/cm | ex vivo, human, caucasian, IS, IAD, from Chan 1996
2011 | Bashkatov | 600 | nm | 3.77 | 1/cm |  |  |  | 18.67 | 1/cm | ex vivo, human, caucasian, IS, IAD, from Chan 1996
2011 | Bashkatov | 700 | nm | 2.41 | 1/cm |  |  |  | 14.82 | 1/cm | ex vivo, human, caucasian, IS, IAD, from Chan 1996
2011 | Bashkatov | 630 | nm | 0.94 | 1/cm |  |  |  | 40 | 1/cm | ex vivo, rabbit, epidermis+dermis, DIS, IAD, from Beek 1997
2011 | Bashkatov | 632.8 | nm | 0.33 | 1/cm |  |  |  | 31.6 | 1/cm | ex vivo, rabbit, epidermis+dermis, DIS, IAD, from Beek 1997
2011 | Bashkatov | 790 | nm | 0.7 | 1/cm |  |  |  | 18.4 | 1/cm | ex vivo, rabbit, epidermis+dermis, DIS, IAD, from Beek 1997
2011 | Bashkatov | 632.8 | nm | 1 | 1/cm |  |  |  | 22.7 | 1/cm | ex vivo, piglet, epidermis+dermis, DIS, IAD, from Beek 1997
2011 | Bashkatov | 790 | nm | 2.4 | 1/cm |  |  |  | 19.3 | 1/cm | ex vivo, piglet, epidermis+dermis, DIS, IAD, from Beek 1997
2011 | Bashkatov | 850 | nm | 1.6 | 1/cm |  |  |  | 14.3 | 1/cm | ex vivo, piglet, epidermis+dermis, DIS, IAD, from Beek 1997
2011 | Bashkatov | More Bashkatov, human skin, in Section D, truncated because bulk of values are for human skin, or not in relevant wavelengths
2011 | Bashkatov | 632.8 | nm | 0.89 | 1/cm | 289 | 1/cm | 0.926 | 21.1 | 1/cm | ex vivo, piglet, dermis, DIS, IAD, from Beek 1997
2011 | Bashkatov | 790 | nm | 1.8 | 1/cm | 254 | 1/cm | 0.945 | 13.9 | 1/cm | ex vivo, piglet, dermis, DIS, IAD, from Beek 1997
2011 | Bashkatov | 850 | nm | 0.33 | 1/cm | 285 | 1/cm | 0.968 | 9 | 1/cm | ex vivo, piglet, dermis, DIS, IAD, from Beek 1997
2011 | Bashkatov | 325 | nm | 5.6 | 1/cm | 220 | 1/cm | 0.38 |  |  | ex vivo, pig, IS, IMC, from
2011 | Bashkatov | 442 | nm | 1.9 | 1/cm | 89 | 1/cm | 0.36
2011 | Bashkatov | 532 | nm | 1.4 | 1/cm | 69 | 1/cm | 0.64
2011 | Bashkatov | 633 | nm | 0.7 | 1/cm | 58 | 1/cm | 0.72
2011 | Bashkatov | 850 | nm | 1.6 | 1/cm | 90 | 1/cm | 0.88

## Stomach
year | source | wavelength |  | absorbance |  | scattering | anisotropy | reduced scattering |  | note
2005 | Alexandrakis | 590 | nm | 1.2944 | 1/cm |  |  | 1.6255 | 1/mm | mouse estimate, calculated from parameters a = 792/mm, b =0.97, S_B = 0.01, x = 0.7, S_W = 0.8
2005 | Alexandrakis | 610 | nm | 0.38039 | 1/cm |  |  | 1.5738 | 1/mm | mouse estimate, calculated from parameters a = 792/mm, b =0.97, S_B = 0.01, x = 0.7, S_W = 0.8
2005 | Alexandrakis | 630 | nm | 0.2052 | 1/cm |  |  | 1.5253 | 1/mm | mouse estimate, calculated from parameters a = 792/mm, b =0.97, S_B = 0.01, x = 0.7, S_W = 0.8
2005 | Alexandrakis | 650 | nm | 0.14919 | 1/cm |  |  | 1.4798 | 1/mm | mouse estimate, calculated from parameters a = 792/mm, b =0.97, S_B = 0.01, x = 0.7, S_W = 0.8
2006 | Wang | 675 | nm | 0.21 | 1/mm |  |  | 1.7 | 1/mm | mouse estimate, for range 650-700 nm
2011 | Welch | 542 | nm | 3.6 | 1/cm |  |  | 14 | 1/cm | human, stomach, Thueler 2003
2011 | Welch | 600 | nm | 1 | 1/cm |  |  | 13 | 1/cm | human, stomach, Thueler 2003
2011 | Welch | 650 | nm | 0.6 | 1/cm |  |  | 12 | 1/cm | human, stomach, Thueler 2003
2006 | Wang | 650 | nm | 0.21 | 1/mm |  |  | 1.7 | 1/mm | mouse

## Uterus
year | source | wavelength |  | absorbance |  | scattering |  | anisotropy | reduced scattering | note
1990 | Cheong | 635 | nm | 0.35 | 1/cm | 394 | 1/cm | 0.69 |  | ex vivo, human, from Marchesini 1989

## Summary
Adipose | Absorbance | (1/cm)
Year | Author | 400 | 500 | 590 | 600 | 610 | 630 | 633 | 650 | 700 | 751 | 800 | Type
2011 | Bashkatov | 2.26 | [10 empty] | human
2011 | Bashkatov | 15.98 | [10 empty] | human
2011 | Bashkatov | 2.25 | [10 empty] | rat
2011 | Bashkatov |  | 1.49 | [9 empty] | human
2011 | Bashkatov |  | 5.5 | [9 empty] | human
2011 | Bashkatov |  | 0.64 | [9 empty] | rat
2005 | Alexandrakis |  |  | 0.42746 | [8 empty] | mouse
2011 | Bashkatov |  |  |  | 1.18 | [7 empty] | human
2011 | Bashkatov |  |  |  | 1.89 | [7 empty] | human
2011 | Bashkatov |  |  |  | 0.64 | [7 empty] | rat
2005 | Alexandrakis |  |  |  |  | 0.12615 | [6 empty] | mouse
2005 | Alexandrakis | [5 empty] | 0.068405 | [5 empty] | mouse
1996 | Kienle | [6 empty] | 0.026 |  |  |  |  | cow
2005 | Alexandrakis | [7 empty] | 0.050035 |  |  |  | mouse
2011 | Bashkatov | [8 empty] | 1.11 |  |  | human
2011 | Bashkatov | [8 empty] | 1.27 |  |  | human
2011 | Bashkatov | [8 empty] | 0.75 |  |  | rat
1996 | Kienle | [9 empty] | 0.0021 |  | cow
2011 | Bashkatov | [10 empty] | 1.07 | human
2011 | Bashkatov | [10 empty] | 1.08 | human
2011 | Bashkatov | [10 empty] | 1.05 | rat
Adipose | Reduced Scattering | (1/cm)
Year | Author | 400 | 500 | 590 | 600 | 610 | 630 | 633 | 650 | 700 | 751 | 800 | Type
2011 | Bashkatov | 13.4 | [10 empty] | human
2011 | Bashkatov | 49.5 | [10 empty] | human
2011 | Bashkatov | 19.8 | [10 empty] | rat
2011 | Bashkatov |  | 13.8 | [9 empty] | human
2011 | Bashkatov |  | 35.4 | [9 empty] | human
2011 | Bashkatov |  | 14.3 | [9 empty] | rat
2005 | Alexandrakis |  |  | 12.9 | [8 empty] | mouse
2013 | Jacques |  |  | 12.8542 | [8 empty] | human
2013 | Jacques |  |  | 9.7258 | [8 empty] | human
2013 | Jacques |  |  | 29.8898 | [8 empty] | human
2013 | Jacques |  |  | 18.5184 | [8 empty] | human
2011 | Bashkatov |  |  |  | 13.4 | [7 empty] | human
2011 | Bashkatov |  |  |  | 27 | [7 empty] | human
2011 | Bashkatov |  |  |  | 12.2 | [7 empty] | rat
2005 | Alexandrakis |  |  |  |  | 12.7 | [6 empty] | mouse
2013 | Jacques |  |  |  |  | 12.6903 | [6 empty] | human
2013 | Jacques |  |  |  |  | 9.5587 | [6 empty] | human
2013 | Jacques |  |  |  |  | 28.9214 | [6 empty] | human
2013 | Jacques |  |  |  |  | 17.9531 | [6 empty] | human
2005 | Alexandrakis | [5 empty] | 12.48 | [5 empty] | mouse
2013 | Jacques | [5 empty] | 12.5337 | [5 empty] | human
2013 | Jacques | [5 empty] | 9.3997 | [5 empty] | human
2013 | Jacques | [5 empty] | 28.0141 | [5 empty] | human
2013 | Jacques | [5 empty] | 17.4224 | [5 empty] | human
1996 | Kienle | [6 empty] | 12 |  |  |  |  | cow
2005 | Alexandrakis | [7 empty] | 12.27 |  |  |  | mouse
2013 | Jacques | [7 empty] | 12.3838 |  |  |  | human
2013 | Jacques | [7 empty] | 9.2482 |  |  |  | human
2013 | Jacques | [7 empty] | 27.1623 |  |  |  | human
2013 | Jacques | [7 empty] | 16.9234 |  |  |  | human
2011 | Bashkatov | [8 empty] | 12.2 |  |  | human
2011 | Bashkatov | [8 empty] | 23 |  |  | human
2011 | Bashkatov | [8 empty] | 11.4 |  |  | rat
1996 | Kienle | [9 empty] | 10 |  | cow
2011 | Bashkatov | [10 empty] | 11.6 | human
2011 | Bashkatov | [10 empty] | 20.2 | human
2011 | Bashkatov | [10 empty] | 11 | rat
Bone | Absorbance | (1/cm)
Year | Author | 590 | 610 | 630 | 650 | 700 | 750 | 760 | 800 | 850 | 900 | 950 | Type
2005 | Alexandrakis | 6.7027 | [10 empty] | mouse
2005 | Alexandrakis |  | 2.0622 | [9 empty] | mouse
2005 | Alexandrakis |  |  | 1.1136 | [8 empty] | mouse
1993 | Firbank |  |  |  | 0.4 | [7 empty] | pig
2005 | Alexandrakis |  |  |  | 0.80695 | [7 empty] | mouse
2011 | Sandell |  |  |  | 0.115 | [7 empty] | human
1993 | Firbank |  |  |  |  | 0.25 | [6 empty] | pig
1993 | Firbank | [5 empty] | 0.25 | [5 empty] | pig
2011 | Sandell | [6 empty] | 0.08 |  |  |  |  | human
1993 | Firbank | [7 empty] | 0.25 |  |  |  | pig
1993 | Firbank | [8 empty] | 0.25 |  |  | pig
1993 | Firbank | [9 empty] | 0.35 |  | pig
1993 | Firbank | [10 empty] | 0.5 | pig
Bone | Reduced Scattering | (1/cm)
Year | Author | 590 | 610 | 630 | 650 | 700 | 750 | 760 | 800 | 850 | 900 | 950 | Type
2005 | Alexandrakis | 30.1 | [10 empty] | mouse
2013 | Jacques | 9.3 | [10 empty] | human
2005 | Alexandrakis |  | 28.6 | [9 empty] | mouse
2013 | Jacques |  | 9.2 | [9 empty] | human
2005 | Alexandrakis |  |  | 27.3 | [8 empty] | mouse
2013 | Jacques |  |  | 9.2 | [8 empty] | human
1993 | Firbank |  |  |  | 26 | [7 empty] | pig
2005 | Alexandrakis |  |  |  | 26.1 | [7 empty] | mouse
2011 | Sandell |  |  |  | 14.15 | [7 empty] | human
2013 | Jacques |  |  |  | 9.15 | [7 empty] | human
1993 | Firbank |  |  |  |  | 22.5 | [6 empty] | pig
1993 | Firbank | [5 empty] | 20 | [5 empty] | pig
2011 | Sandell | [6 empty] | 13 |  |  |  |  | human
1993 | Firbank | [7 empty] | 18 |  |  |  | pig
1993 | Firbank | [8 empty] | 17.5 |  |  | pig
1993 | Firbank | [9 empty] | 16 |  | pig
1993 | Firbank | [10 empty] | 15 | pig
Bowel | Absorbance | (1/cm)
Year | Author | 590 | 610 | 630 | 650 | Type
2005 | Alexandrakis | 1.27 |  |  |  | mouse
2005 | Alexandrakis |  | 0.39 |  |  | mouse
2005 | Alexandrakis |  |  | 0.21 |  | mouse
2011 | Sandell |  |  | 0.2 |  | human
2011 | Sandell |  |  | 0.15 |  | human
2005 | Alexandrakis |  |  |  | 0.15 | mouse
Bowel | Reduced Scattering | (1/cm)
Year | Author | 590 | 610 | 630 | 650 | Type
2005 | Alexandrakis | 13.4 |  |  |  | mouse
2005 | Alexandrakis |  | 12.9 |  |  | mouse
2005 | Alexandrakis |  |  | 12.4 |  | mouse
2011 | Sandell |  |  | 9.5 |  | human
2011 | Sandell |  |  | 10.27 |  | human
2005 | Alexandrakis |  |  |  | 11.9 | mouse
Brain | Absorbance | (1/cm)
Year | Author | 420 | 532 | 630 | 633 | 674 | 760 | 780 | 811 | 849 | 956 | Type
2011 | Sandell | 1.76 | [9 empty] | human
2011 | Sandell |  | 1.93 | [8 empty] | human
1990 | Cheong |  |  | 0.64 | [7 empty] | pig
1990 | Cheong |  |  | 0.65 | [7 empty] | human
2011 | Sandell |  |  | 0.26 | [7 empty] | human
1990 | Cheong |  |  |  | 2.02 | [6 empty] | dog
1990 | Cheong |  |  |  | 1.65 | [6 empty] | dog
1990 | Cheong |  |  |  | 0.19 | [6 empty] | cow
1990 | Cheong |  |  |  | 0.26 | [6 empty] | pig
1990 | Cheong |  |  |  | 1.58 | [6 empty] | human
1990 | Cheong |  |  |  | 2.63 | [6 empty] | human
2011 | Welch |  |  |  |  | 2.5 | [5 empty] | human
2011 | Welch |  |  |  |  | 0.2 | [5 empty] | human
2011 | Sandell | [5 empty] | 0.14 |  |  |  |  | human
2011 | Sandell | [6 empty] | 0.0835 |  |  |  | human
2011 | Welch | [7 empty] | 0.2 |  |  | human
2011 | Welch | [8 empty] | 0.95 |  | human
2011 | Welch | [9 empty] | 0.9 | human
Brain | Reduced Scattering | (1/cm)
Year | Author | 420 | 532 | 590 | 610 | 630 | 633 | 650 | 760 | 780 | Type
2011 | Sandell | 37.29 | [8 empty] | human
2011 | Sandell |  | 23.25 | [7 empty] | human
2013 | Jacques |  |  | 10.31 | [6 empty] | human
2013 | Jacques |  |  | 10.5 | [6 empty] | human
2013 | Jacques |  |  | 16.4 | [6 empty] | human
2013 | Jacques |  |  | 17.54 | [6 empty] | human
2013 | Jacques |  |  |  | 10.2 | [5 empty] | human
2013 | Jacques |  |  |  | 10.29 | [5 empty] | human
2013 | Jacques |  |  |  | 15.551 | [5 empty] | human
2013 | Jacques |  |  |  | 16.8571 | [5 empty] | human
1990 | Cheong |  |  |  |  | 52 |  |  |  |  | pig
1990 | Cheong |  |  |  |  | 35 |  |  |  |  | human
2011 | Sandell |  |  |  |  | 12.845 |  |  |  |  | human
2013 | Jacques |  |  |  |  | 10.0903 |  |  |  |  | human
2013 | Jacques |  |  |  |  | 10.0957 |  |  |  |  | human
2013 | Jacques |  |  |  |  | 14.7549 |  |  |  |  | human
2013 | Jacques |  |  |  |  | 16.2169 |  |  |  |  | human
1990 | Cheong | [5 empty] | 6.31 |  |  |  | dog
1990 | Cheong | [5 empty] | 1.97 |  |  |  | dog
1990 | Cheong | [5 empty] | 6.6 |  |  |  | cow
1990 | Cheong | [5 empty] | 57 |  |  |  | pig
1990 | Cheong | [5 empty] | 2.04 |  |  |  | human
1990 | Cheong | [5 empty] | 7.22 |  |  |  | human
2013 | Jacques | [6 empty] | 9.9855 |  |  | human
2013 | Jacques | [6 empty] | 9.9078 |  |  | human
2013 | Jacques | [6 empty] | 14.0225 |  |  | human
2013 | Jacques | [6 empty] | 15.62 |  |  | human
2011 | Sandell | [7 empty] | 7.25 |  | human
2011 | Sandell | [8 empty] | 8.79 | human
Heart | Absorption | (1/cm)
Year | Author | 590 | 610 | 630 | 650 | 661 | 675 | Type
2005 | Alexandrakis | 6.6536 | [5 empty] | mouse
2005 | Alexandrakis |  | 1.9989 |  |  |  |  | mouse
2005 | Alexandrakis |  |  | 1.0766 |  |  |  | mouse
2011 | Sandell |  |  | 0.79 |  |  |  | human
2005 | Alexandrakis |  |  |  | 0.77933 |  |  | mouse
2006 | Wang |  |  |  | 1.1 |  |  | mouse
2011 | Sandell |  |  |  |  | 0.15 |  | human
2006 | Wang | [5 empty] | 0.11 | mouse
Heart | Reduced Scattering | (1/cm)
Year | Author | 590 | 610 | 630 | 650 | 661 | 675 | Type
2005 | Alexandrakis | 11.6 | [5 empty] | mouse
2005 | Alexandrakis |  | 11 |  |  |  |  | mouse
2005 | Alexandrakis |  |  | 10.5 |  |  |  | mouse
2011 | Sandell |  |  | 46.31 |  |  |  | human
2005 | Alexandrakis |  |  |  | 10.1 |  |  | mouse
2006 | Wang |  |  |  | 11 |  |  | mouse
2011 | Sandell |  |  |  |  | 48.01 |  | human
2006 | Wang | [5 empty] | 11 | mouse
Kidney | Absorption | (1/cm)
Year | Author | 590 | 610 | 630 | 650 | Type
2005 | Alexandrakis | 7.45 |  |  |  | mouse
2005 | Alexandrakis |  | 2.24 |  |  | mouse
2005 | Alexandrakis |  |  | 1.21 |  | mouse
2005 | Alexandrakis |  |  |  | 0.87 | mouse
2006 | Wang |  |  |  | 1.2 | mouse
Kidney | Reduced Scattering | (1/cm)
Year | Author | 590 | 610 | 630 | 650 | Type
2005 | Alexandrakis | 27.3 |  |  |  | mouse
2005 | Alexandrakis |  | 26 |  |  | mouse
2005 | Alexandrakis |  |  | 24.7 |  | mouse
2005 | Alexandrakis |  |  |  | 23.6 | mouse
2006 | Wang |  |  |  | 12 | mouse
Liver | Absorbance | (1/cm)
Year | Author | 488 | 515 | 590 | 610 | 630 | 633 | 635 | 650 | 675 | 751 | 800 | Type
1990 | Cheong | 12.2 | [10 empty] | mouse
1990 | Cheong |  | 18.9 | [9 empty] | human
2005 | Alexandrakis |  |  | 39.9 | [8 empty] | mouse
2005 | Alexandrakis |  |  |  | 11.99 | [7 empty] | mouse
1990 | Cheong |  |  |  |  | 3.2 | [6 empty] | human
1990 | Cheong |  |  |  |  | 2.7 | [6 empty] | pig
2005 | Alexandrakis |  |  |  |  | 6.45 | [6 empty] | mouse
2011 | Sandell |  |  |  |  | 1.36 | [6 empty] | human
1990 | Cheong | [5 empty] | 3.21 | [5 empty] | cow
1990 | Cheong | [5 empty] | 6.5 | [5 empty] | mouse
1996 | Kienle | [5 empty] | 3 | [5 empty] | cow
1990 | Cheong | [6 empty] | 2.3 |  |  |  |  | human
2005 | Alexandrakis | [7 empty] | 4.67 |  |  |  | mouse
2006 | Wang | [7 empty] | 4.5 |  |  |  | mouse
2006 | Wang | [8 empty] | 4.5 |  |  | mouse
1996 | Kienle | [9 empty] | 1.7 |  | cow
1990 | Cheong | [10 empty] | 5.7 | mouse
Liver | Reduced Scattering | (1/cm)
Year | Author | 590 | 610 | 630 | 633 | 650 | 675 | 751 | Type
2005 | Alexandrakis | 7.75 | [6 empty] | mouse
2013 | Jacques | 8.1 | [6 empty] | human
2005 | Alexandrakis |  | 7.5 | [5 empty] | mouse
2013 | Jacques |  | 7.96 | [5 empty] | human
1990 | Cheong |  |  | 17 |  |  |  |  | pig
2005 | Alexandrakis |  |  | 7.23 |  |  |  |  | mouse
2011 | Sandell |  |  | 26 |  |  |  |  | human
2013 | Jacques |  |  | 7.8 |  |  |  |  | human
1990 | Cheong |  |  | 5.23 |  |  |  |  | cow
1996 | Kienle |  |  |  | 10.1 |  |  |  | cow
2005 | Alexandrakis |  |  |  |  | 7 |  |  | mouse
2013 | Jacques |  |  |  |  | 7.6 |  |  | human
2006 | Wang |  |  |  |  | 20 |  |  | mouse
2006 | Wang | [5 empty] | 20 |  | mouse
1996 | Kienle | [6 empty] | 3.2 | cow
Lung | Absorbance | (1/cm)
Year | Author | 515 | 590 | 610 | 630 | 635 | 650 | 661 | 675 | Type
1990 | Cheong | 25.5 | [7 empty] | human
2005 | Alexandrakis |  | 21 | [6 empty] | mouse
2005 | Alexandrakis |  |  | 6.6 | [5 empty] | mouse
1990 | Cheong |  |  |  | 8.4 |  |  |  |  | human
2005 | Alexandrakis |  |  |  | 3.6 |  |  |  |  | mouse
2011 | Sandell |  |  |  | 0.76 |  |  |  |  | human
1990 | Cheong |  |  |  |  | 8.1 |  |  |  | human
2005 | Alexandrakis | [5 empty] | 2.6 |  |  | mouse
2006 | Wang | [5 empty] | 3.5 |  |  | mouse
2011 | Sandell | [6 empty] | 0.685 |  | human
2006 | Wang | [7 empty] | 3.5 | mouse
Lung | Reduced Scattering | (1/cm)
Year | Author | 590 | 610 | 630 | 650 | 661 | 675 | Type
2005 | Alexandrakis | 23.25 | [5 empty] | mouse
2005 | Alexandrakis |  | 22.8 |  |  |  |  | mouse
2005 | Alexandrakis |  |  | 22.5 |  |  |  | mouse
2011 | Sandell |  |  | 42.4 |  |  |  | human
2005 | Alexandrakis |  |  |  | 22.1 |  |  | mouse
2006 | Wang |  |  |  | 23 |  |  | mouse
2011 | Sandell |  |  |  |  | 21.83 |  | human
2006 | Wang | [5 empty] | 23 | mouse
Stomach | Absorbance | (1/cm)
Year | Author | 542 | 590 | 600 | 610 | 630 | 650 | 675 | Type
2011 | Welch | 3.6 | [6 empty] | human
2005 | Alexandrakis |  | 1.2944 | [5 empty] | mouse
2011 | Welch |  |  | 1 |  |  |  |  | human
2005 | Alexandrakis |  |  |  | 0.38039 |  |  |  | mouse
2005 | Alexandrakis |  |  |  |  | 0.2052 |  |  | mouse
2005 | Alexandrakis | [5 empty] | 0.14919 |  | mouse
2011 | Welch | [5 empty] | 0.6 |  | human
2006 | Wang | [5 empty] | 2.1 |  | mouse
2006 | Wang | [6 empty] | 2.1 | mouse
Stomach | Absorbance | (1/cm)
Year | Author | 542 | 590 | 600 | 610 | 630 | 650 | 675 | Type
2011 | Welch | 14 | [6 empty] | human
2005 | Alexandrakis |  | 16.2 | [5 empty] | mouse
2011 | Welch |  |  | 13 |  |  |  |  | human
2005 | Alexandrakis |  |  |  | 15.7 |  |  |  | mouse
2005 | Alexandrakis |  |  |  |  | 15.3 |  |  | mouse
2005 | Alexandrakis | [5 empty] | 14.8 |  | mouse
2011 | Welch | [5 empty] | 12 |  | human
2006 | Wang | [5 empty] | 17 |  | mouse
2006 | Wang | [6 empty] | 17 | mouse

## A
Table II