## Slide 1: Force-Controlled Robot for Elasticity Imaging
Maintain consistent contact with patients during shear wave elasticity imaging to detect differences in tissue mechanical properties
What Students Will Do:
  Use integrated force sensor to write force control laws that maintain probe contact
Bell MAL et al. IEEE Transactions on Biomedical Engineering, 2016
Deliverables:
Prototype system with Sawyer robot
Demonstration with ultrasound phantom
Compare new method to existing standards

## Slide 2
5 N Compression
3 cm push focus
F/# =1
Size group: 2-3
Skills:
  ultrasound imaging knowledge
  experience with robotics
Faculty Mentor: Muyinatu Bell (mbell36@jhu.edu)
Force-Controlled Robot for Elasticity Imaging

## Slide 3: da Vinci-Compatible Shear Wave Imaging
Bring benefits of shear wave elasticity imaging to minimally invasive surgeries
What Students Will Do:
  make existing da Vinci drop in probes compatible with shear wave imaging
Deliverables:
  Build connector for custom research scanner
  Interface drop in probe with shear wave imaging script
  Demonstrate working prototype
Size group: 2
Skills: circuit analysis and design, ultrasound imaging knowledge
Mentors: Muyinatu Bell (mbell36@jhu.edu)
http://bkultrasound.com/products/flex-focus/transducers/proart-robotic-drop-in-8826-ultrasound-transducer

## Slide 4: Photoacoustic-Guided Spinal Fusion Surgery
Determine the feasibility of using photoacoustic imaging to guide spinal fusion surgeries
What Students Will Do: perform photoacoustic imaging experiments with sine specimens
Deliverables (choose 3):
  Distinguish cortical from cancellous bone
  Visualize pedicle boundaries
  Visualize nerves
  Determine optimal entry point
  Evaluate imaging resolution
  Define energy requirements
Size group: 2
Skills: experience with ultrasound imaging, experience with lasers and laser safety, hands-on experimental skills
Faculty Mentor: Muyinatu Bell (mbell36@jhu.edu)
http://www.mayfieldclinic.com/PE-FusionPreparing.htm

## Slide 5: Light Delivery Systems for PA-Guided Surgery
Develop a specialized light delivery system for photoacoustic-guided surgery
What students will do:
  Choose a compatible surgical tool
  Answer design questions:
    How many fibers? (Zemax Simulations)
    How far apart? (Monte Carlo Simulations)
  Build working prototype and demonstrate surgical photoacoustic task with the da Vinci
Eddins and Bell, JBO, 2017

## Slide 6: Light Delivery Systems for PA-Guided Surgery
Deliverables:
  Design custom light delivery system
  Build phantom for chosen clinical application
  Demonstrate working prototype with integrated photoacoustic system and da Vinci surgical system
  Perform task with and without photoacoustic guidance
Size group: 2-3
Skills: programming for simulation software (Monte Carlo, Zemax), Solid modeling (SolidWorks, Creo), hands-on experimental skills, experience with lasers and ultrasound desired but not required
Faculty Mentor:
  Muyinatu Bell (mbell36@jhu.edu)
Eddins and Bell, JBO, 2017