## Slide 1: 3D Real-time FBG-based Needle Shape Estimation
This project aims to determine the shape of a flexible needle with asymmetric bevel tip which is inserted into tissue, in combination with measured curvature data by the FBG sensors.
What Students Will Do:
  Build and calibrate sensorized needle
  Finalize needle shape by mathematical model
  Develop experimental setup with C-arm
  Conduct experiments
1 mm
Fiber Bragg Grating:
Compressive strain
Tensile strain
Λ
Λ- δ

## Slide 2: 3D Real-time FBG-based Needle Shape Estimation
Deliverables:
  Sensorized needle and calibration matrix
  MATLAB code for the models
  Experimental results
Size group: 2
Skills:
  Required: Good analytical skills, Programming (Matlab, C/C++), CAD
  Desired: Kinematics, Control Theory, Electronics, Prototyping,
Mentors: Dr. Jin Seob Kim, Dr. Sungmin Kim, Dr. Iulian Iordachita