## Slide 1: Surgical Instrument for Robotic Open Microsurgery
Goal: Work closely with clinical collaborator to develop novel surgical instruments for robotic vein suturing.
What Students Will Do:
  Discuss requirements with clinical collaborator
  Evaluate previous design from last year’s CIS 2 project
  Design solution
  Fabricate solution
  Test solution in simple model
  Iterate design until satisfactory
  Test in phantom
Deliverables:
  Completed instrument
  Design Documentation
Size group: 2
Skills:
  CAD/CAM
  Design experience
Mentors: Yunus Sevimli, Dr. Russ Taylor, Dr. Chris Razavi

## Slide 3: Surgical Drill Holder with Force Feedback
Goal: The goal is to integrate a “smart” surgical drill into the Galen System. Currently we can mount commercial surgical drills onto the Galen’s end effector, allowing the user to have more precision when operating the drill through a cooperative control scheme. This, however, eliminates the natural haptic feedback available when using the drill by hand. This project requires bringing together the benefits of a robot-operated drill while maintaining freehand haptic feedback.
What Students Will Do:
  Learn about the use of surgical drills in different surgical cases
  Design a way to integrate a force sensor in or around the drill
  Fabricate the product
  Test on phantoms
Deliverables:
  Completed design
  Design documentation
Size group: 2
Skills:
  CAD/CAM
  Electromechanical design experience
Mentors: Yunus Sevimli, Paul Wilkening, Dr. Russ Taylor, Dr. Matt Stewart

## Slide 4
“dumb” drills

## Slide 5: Robotic Bone Drilling Assessment
Goal: We can mount commercial surgical drills onto the Galen’s end effector, which is expected to increase the precision of the drill cuts. The goal of this study is to quantifiably verify this assertion by designing and conducting studies. An example study could include measuring the depth of each drill pass, maintaining a minimum distance from critical structures, and comparing the evenness of drill passes. An optional component involves developing a virtual fixture for drilling, and comparing it to the results of manual and robot-assisted tests.
What Students Will Do:
  Observe surgical cases
  Design studies
  Design and fabricate phantoms
  Conduct studies
  Analyze results
  Design and program a drilling virtual fixture (robot software component)
Deliverables:
  Study protocol
  Phantoms
  Study results and analysis
Size group: 2 (hardware only) or 3 (with robot software component)
Skills:
  Imaging Analysis
  CAD/CAM
  MATLAB or Python
  C++ (robot software component)
Mentors: Paul Wilkening, Yunus Sevimli, Dr. Russ Taylor, Dr. Matt Stewart
Note: This could be the start of a good MS or PhD qualifying project

## Slide 7: Force Sensing Laryngeal Tool
Goal: The goal is to integrate a “smart” laryngeal tool capable of sensing tool-to-tissue forces into the Galen System. Laryngeal surgery requires grasping the vocal cords with a very long tool that is used for retraction while a cyst is removed. The goal of this project is to place strain sensors on the shaft of the tool, calibrate it, and incorporate the force feedback into the Galen control.
What Students Will Do:
  Place strain sensors on tool and calibrate it
  Provide adaptive feedback control (force scaling) and force limiting behaviors
  Test on phantoms
  Conduct user study comparing freehand vs robot vs robot+force
Deliverables:
  Completed design
  Design documentation
  Study results
Size group: 2
Skills:
  Simple mechanical fabrication skills + electrical interfacing skills
  Programming (C++)
Mentors: Dr. Russ Taylor, Dr. Lee Akst, Yunus Sevimli, Paul Wilkening

## Slide 8
“dumb” laryngeal gripper

## Slide 10: Robotic Soft Tissue Manipulation Assessment
Goal: The goal of this project is to design and conduct one or more studies that quantifiably assess robotically-assisted soft tissue manipulation. The cases chosen can be from otolaryngology, neurosurgery or general open microsurgery. Examples include nodule dissection, anastomosis, tissue incision or retraction. Note: There may be several such projects, using different applications. An optional component involves developing a virtual fixture for the chosen application, and comparing it to the results of manual and robot-assisted tests.
What Students Will Do:
  Observe and analyze surgical cases
  Design studies
  Design and make phantoms and/or custom tools (optional)
  Conduct studies
  Analyze results
  Design and program virtual fixture (robot software component)
Deliverables:
  Study protocol
  Phantoms and/or tools (optional)
  Study results and analysis
Size group: 2 or 3 (with robot software component)
Skills:
  Computer vision
  CAD/CAM
  MATLAB or Python
  C++ (robot software component)
Mentors: Paul Wilkening, Yunus Sevimli, Dr. Russ Taylor, Dr. Matt Stewart, Dr. Lee Akst, Dr. Chris Razavi
Note: This could be the start of a good MS or PhD qualifying project