## Slide 1: Scope Holding Device
Develop scope holding device to facilitate endoscope drying process
What Students Will Do:
  Discuss requirements with clinical collaborator
  – Design solution
  – Fabricate solution
  – Test solution in simple model
  – Redesign until satisfactory
Deliverables:
  Device accommodates various endoscopes (bronchs, GI, etc.)
  Finalized device
Size group: (no more than 3, if more split into sub projects)
Skills:
  CAD/CAM
  Machine shop experience
  Design experience
Mentors: Russ Taylor, Miriana Pehar, RN (mpehar1@jhmi.edu), Tony Kalloo, MD (akalloo@jhmi.edu), Mehran Armand
Group leader:

## Slide 2: Endoscopy and Endoscope Defined
Endoscopy
      A procedure allowing visual examination of internal organs and vessels for management, treatment and prevention of diseases
    Endoscope
      A reusable, intricately designed medical instrument that allows for images to be viewed on a monitor
      Generally inserted through natural orifices of the body
Sigmoidoscope
Gastroscope
Bronchoscopes
Examples of Various
Types of Endoscopes

## Slide 3: Endoscope Safety Risks
Endoscopes
  Difficult instruments to clean and disinfect
  Most commonly inked to patient infections
Scope drying
  Performed after the endoscope is disinfected
    Prevents residual moisture within the endoscope
    Prevents bacterial growth
    Challenge due to long, narrow, non-visible lumens
    Current product market does not offer a solution
    Inadequately dried endoscopes have been linked to disease transmission in patients undergoing endoscopic procedures

## Slide 4: Scope Drying: Current Process

## Slide 5: Project Goals
  Develop a scope holding device
      Facilitate/improve the scope drying process for various types of endoscopes
      Standardize the scope drying practice
      Create a simple design that can evolve over time
        Explore incorporation of technology into the device later (future goal)
  Opportunity to collaborate with researchers for scope drying study
        Target date March or April 2017
          Compare drying practices between different practices
          Pre-device implementation vs. post-device implementation
          Assess pre and post residual moisture levels