## Slide 1: Robot Control Algorithms Based on Sclera Force Information
This project aims to extend the Eye Robot (ER) control algorithms for safe robot-assisted micromanipulation based on sclera force/position feedback
What Students Will Do:
New control mode(s) with admittance variation (non-linear) along the insertion depth
Set an experiment with dry phantom, multiple subject experiments (at least 10 subjects), statistical analysis (MATLAB)
Deliverables:
Software: C++ code, Experimental setup
Experimental results
Size group: 2 people
Skills:
- Required: Good analytical skills,
Programming (Matlab, C/C++), CAD
Desired: Control Theory, Electronics, Prototyping
Mentors: Profs. Marin Kobilarov, Iulian Iordachita, Russell Taylor, Dr. Nirav Patel

## Slide 2: Robot Control Algorithms Based on Sclera Force Information
This project aims to modify the Eye Robot (ER) control algorithms for assisting retinal vein cannulation (RVC).
JHU SHER: SHER 2.0 and 2.1 adjacent to on operating microscope (top); two instruments held by the robots, inserted through sclerotomies of a phantom eye (bottom).
Dual force sensing instrument, (a) tool shaft dimention; (b) section view of the tool shaft with the FBG sensors; (c) geometry related to tool calibration; (d) dimensions of a single fiber with three FBG sensors.
Admittance variation (linear or non-linear) along the insertion depth. The section between and is the transition between pure force scaling of the sclera force and pure RCM.