## Slide 1: Real-time Tumor Tissue Localization with Sensorized Needle
This project aims to determine in real-time the location of a tumor inside the prostate during needle insertion based on measured tissue stiffness from FBG sensors.
What Students Will Do:
  Build and calibrate sensorized needle
  Adapt tissue stiffness mathematical model
  Develop experimental setup with C-arm (2D, 3D)
  Conduct experiments
1 mm
Fiber Bragg Grating:
Compressive strain
Tensile strain
Λ
Λ- δ

## Slide 2: Real-time Tumor Tissue Localization with Sensorized Needle
Deliverables:
  Sensorized needle and calibration matrix
  MATLAB code for the models
  Experimental results
Size group: 2
Skills:
  Required: Good analytical skills, Programming (Matlab, C/C++), CAD
  Desired: Kinematics, Control Theory, Electronics, Prototyping,
Mentors: Drs. Nirav Patel, Jin Seob Kim, Samuel Kadoury, Iulian Iordachita