## Slide 1: Thermal Imaging Changfan Chen Mentors: Emad Boctor, Younsu Kim
Goals:
Predict temperature images with channel data and deep learning
Significance:
HIFU(High Intensity Focused Ultrasound) treatment can be low-cost and easy to use. Devices will be portable.
Results:
Max temperature error of axial images is . Max temperature error of coronal images is
Experiment Setup
Axial images
Coronal images
Ultrasound thermometry
MR thermometry
Difference
Ultrasound thermometry
MR thermometry
Difference
MRI Compatible
Probe
128 Receiving Elements
Monitoring Cone
Natural Focal Point
256 HIFU Elements
HIFU
element1
HIFU
element2
HIFU
element256
Ablation Phase
Monitoring Phase
Ablation Phase

## Slide 2: Pattern injection approach
Ultrasound transducer
Before ablation
Tissue
to ablate
During ablation
Ultrasound
element
Vendor independent and less prediction time
-
=
Ultrasound transducer

## Slide 3: Pattern injection approach
Temperature
image
Pattern in
channel data
Pattern
deformation
Depth
Temperature Degree celcius
Depth
Temperature Degree celcius
Low Temperature
High Temperature