## Slide 1: HMD-Based Navigation for Ventriculostomy Group 15: Mingyi Zheng, Yiwei Jiang Mentors: Professor Peter Kazanzides, Ehsan Azimi
Catheter guide overlay(s)
Ventricle
Goals:
The goal is to introduce image guidance via augmented reality on HoloLens to improve success rate of catheter placement in ventriculostomy
The image guidance will include AR overlay of
  Ventricle model from CT image
  Catheter guide overlay
Significance:
Current procedure relies on surgeons to guess the location of ventricle from CT image and anatomic points, which leads to 30% catheter misplacement.
Azimi, E., et al.: Can mixed-reality improve the training of medical procedures? In: IEEE Engineering in Medicine and Biology Conference (EMBC), pp. 112–116, July 2018

## Slide 2
Our navigation system helps users to perform this mock ventriculostomy.
Red: 20
White: 10
Miss: 0
User View
Pilot Test: Mock Ventriculostomy
Overlay of Ventricle
Catheter Guidance
Entry
Result