## Slide 1: Group17: Dual Energy X-ray Decomposition
-- Jonas Adler, Ozan Oktem, IEEE transactions on medical imaging, 2018
Learned primal-dual reconstruction
Paper Seminar Presentation:

## Slide 2
Project Statement
Dual energy X-ray material decomposition
Fig 1. Illustration of material decomposition[1].
[1] Slide: Dual energy imaging and digital tomosynthesis: Innovative X-ray based imaging technologies, University of Toronto
Simplified decomposition model:

## Slide 3
Paper
Proposed method on improving low dose computed tomography (CT) reconstruction
Key innovation: combine model and data driven approaches for solving ill-posed inverse problems
Relevance to my project:
  Dual energy X-ray material decomposition is ill-posed inverse problem
  Acquisition space and decomposition space are primal-dual spaces

## Slide 4
Summary and key results
Proposed an algorithm of learning based iterative reconstruction
Gives state-of-the-art results on CT problem for both analytical and human phantoms
Key Result:
For analytical phantoms, improves upon classical algorithm such as FBP and TV by at least 6dB (PSNR)
For human phantom, improves upon TV regularized reconstruction by 6.6dB (PSNR)
Fig. Reconstructions of a human phantom. (b) Filtered back-projection (FBP). (f) Primal-Dual algorithm.

## Slide 5
Significance of key result
Out-performs the classical schemes (FBP[2] and TV[3]).
Large improvement over the previous end-to-end deep learning based methods, such as U-Net[4] based post-processing. PSNR improvement exceeds 6dB.
Inspire future research in Learned Primal-Dual schemes and that the method will be applied to other imaging modalities.

## Slide 6
Necessary Background
Formulation of inverse problem:
, estimated data
, acquired data
Decomposed data
, X-ray projections
reconstruction
projections
Inverse problem: , in absence of noise
noise component of data
math
CT Reconstruction
X-ray Decomposition
Dual energy decomposition model:
Primal:
Dual:

## Slide 7
Necessary Background
Model driven approach:
, estimated data
, acquired data
Least Square solution for decomposition:
Problem: over-fitting against data
Negative problem, violating physical constraints
Regularization functional
Constrained Least Square solution for decomposition:
constrained to
math
X-ray Decomposition

## Slide 8
Necessary Background
Traditional methods: gradient based methods, such as gradient descent or Newton methods.
, primal
, dual
, primal
, dual
Proximal primal-dual methods: Primal dual hybrid gradient (PDHG) algorithm[6]
Proximal operator:
Controls update smoothness

## Slide 9
Necessary Background
, primal
, dual
Our Improved Optimization model:
Non-negative constraint
Regularization term
(noise & spatial information)

## Slide 10
Contributions
PDHG algorithm (last slide)
Learned PDHG algorithm
*Learned Primal-Dual algorithm
Introduce “memory” between iterations:
X-ray Projections
(Dual space)
Decompositions
(Primal space)
…
…
Compose
Network
Decompose
Network
…

## Slide 11
Contributions—Network Implementation
*Learned Primal-Dual algorithm
Dual Update
Primal Update

## Slide 12
Experiment design
1) Ellipse Phantoms
2) Human Phantoms
Training: Randomly generated ellipses
Projection geometry on a sparse 30 view parallel beam
Evaluation: Shepp-Logan phantom
Forward operator:
Back-projection:
10 Low Dose CT scans, 9 for training and 1 for evaluation
Two-dimensional fan-beam geometry with 1000 angles
Forward operator: (Beer-Lamberts law)
Derivative:
Fig. Left: random ellipses. Right: Shepp-Logan phantom
Fig. Human phantom CT slice

## Slide 13
Comparison Methods
1) Model-driven methods
Filtered back-projection (FBP) [2]: apply a convolutional kernel to filter artifacts of conventional back projection
Total Variation (TV) regularized reconstruction [3]:
2) Data-driven methods
FBP + U-net denoising [4]: train a network to learn the gap between noisy and clean reconstructions
Learned Gradient [6]: learn the gradient operator instead of proximal operator
3) Simplified Learned Primal-Dual methods
Learned Primal: discard dual proximal learning
FBP + residual denoising:
Learned PDHG
discard update of h

## Slide 14
Results
1) Ellipse Phantoms
Fig. Reconstructions of the ellipse phantom using the compared methods. (a) FBP (b) TV (c) FBP+U-net denoising (h) Learned Primal-Dual
Metrics:
PSNR: peak signal to noise ratio
SSIM: structural similarity index [7]
Runtime

## Slide 15
Results
2) Human Phantoms
Fig. Reconstructions of the human phantom using the compared methods. (a) CT scan. (b) FBP (c) TV (d) FBP+U-Net denoising (d) Primal-Dual linear (e) Primal-Dual non-linear
*Linear vs. non-linear mark the implementation version of forward operator for running time concern.

## Slide 16
Assessment
Solid and well-written paper
Combine model-based and learning based methods to solve reconstruction problem
Comprehensive experiments and evaluations both on phantom and human data
Inspire methods of introducing learning in general inverse problems
Good
Improvement
Still optimize in an iterative way
Combine learning and model in a single optimization object
Our effort !

## Slide 17
Conclusions
Proposed method on improving low dose computed tomography (CT) reconstruction
Key innovation: combine model and data driven approaches for solving ill-posed inverse problems
Inspire our design of solving material decomposition problem
Relevance to me

## Slide 18
Reference
[1] Slide: Dual energy imaging and digital tomosynthesis: Innovative X-ray based imaging technologies, University of Toronto
[2] Lauritsch, Günter, and Wolfgang H. Härer. "Theoretical framework for filtered back projection in tomosynthesis." Medical Imaging 1998: Image Processing. Vol. 3338. International Society for Optics and Photonics, 1998.
[3] Osher, Stanley, et al. "An iterative regularization method for total variation-based image restoration." Multiscale Modeling & Simulation 4.2 (2005): 460-489.
[4] Ronneberger, Olaf, Philipp Fischer, and Thomas Brox. "U-net: Convolutional networks for biomedical image segmentation." International Conference on Medical image computing and computer-assisted intervention. Springer, Cham, 2015.
[5] A. Chambolle and T. Pock, “A first-order primal-dual algorithm for convex problems with applications to imaging,” J. Math. Imag. Vis., vol. 40, no. 1, pp. 120–145, 2011.
[6] J. Adler and O. Öktem, “Solving ill-posed inverse problems using iterative deep neural networks,” Inverse Problems, vol. 33, no. 12, p. 124007, 2017.
[7] Wang, Zhou, et al. "Image quality assessment: from error visibility to structural similarity." IEEE transactions on image processing 13.4 (2004): 600-612.