## Slide 1: Robot Control Algorithms Based on Insertion Depth Information
This project aims to extend the Eye Robot (ER) control algorithms for safe robot-assisted micromanipulation based on surgical tool insertion depth.
What Students Will Do:
Expected task:
Enhancing surgical tool insertion depth measurement accuracy using sensor fusion methods or Kalman Filtering.
Implementing the developed method into the ER to improve the robot control.
Deliverables:
Software: C++ code, Experimental setup
Experimental results
Size group: 2 people
Skills:
Required: Programming (Matlab, C++),
Good analytical skills in math, probability and statistics.
Mentors: Prof. Iulian Iordachita, Prof. Marin Kobilarov, Dr. Mahya Shahbazi, Ali Ebrahimi

## Slide 2: Robot Control Algorithms Based on Insertion Depth Information
This project aims to improve insertion depth measurements which is required for Eye Robot control.
JHU SHER: SHER 2.0 and 2.1 adjacent to on operating microscope (top); two instruments held by the robots, inserted through sclerotomies of a phantom eye (bottom).
d = insertion depth, the length of the surgical tool inside the eye
1) -- The model for d using robot forward kinematics.
2) d is also measured using FBG sensors attached to the tool shaft. But the measurements are noisy.
To improve precision, 1 and 2 should be combined!!
section view of the tool shaft
Dual force sensing instrument
Tool and eye interaction