## Slide 1: Eye Robot Control Algorithms Based on Insertion Depth Information
Fiber Bragg Grating (FBG sensors)
diameter 80
Integrating FBG sensors along the surgical needle
Dual force sensing instrument

## Slide 2
Microscope view
Plot for insertion depth
Robot is acting autonomously when insertion depth exceeds 20 mm to bring it down based on exponential desired path.
= desired Insertion depth
= Insertion depth

## Slide 3: Eye Robot Control Algorithms Based on Insertion Depth Information
This project aims to improve insertion depth measurements which is required for Eye Robot control.
JHU SHER: SHER 2.0 and 2.1 adjacent to on operating microscope (top); two instruments held by the robots, inserted through sclerotomies of a phantom eye (bottom).
Tool and eye interaction
d = insertion depth, the length of the surgical tool inside the eye
1) -- The model for d using robot forward kinematics.
2) d is also measured using FBG sensors attached to the tool shaft. But the measurements are noisy.
To improve precision, 1 and 2 should be combined!!

## Slide 4: Eye Robot Control Algorithms Based on Insertion Depth Information
This project aims to extend the Eye Robot (ER) control algorithms for safe robot-assisted micromanipulation based on surgical tool insertion depth.
What Students Will Do:
Expected task:
Enhancing surgical tool insertion depth
measurement accuracy using sensor fusion
methods such as Kalman Filtering.
Implementing the developed method into
the ER to improve the robot control performance.
Deliverables:
Minimum: sensor fusion algorithm development and evaluation;
Expected: augmenting the sensor fusion algorithm into the ER controller + experimental validations;
Maximum: system performance evaluation on chicken embryos
Size group: 2 people
Skills: Required: Programming (Matlab, C++), Good analytical skills in math, probability and statistics.
Mentors: Drs. Iulian Iordachita, Marin Kobilarov, Mahya Shahbazi,
PhD student Ali Ebrahimi (aebrahi5@jhu.edu)