## Slide 1: Accuracy Improvement of the da Vinci Robot
The da Vinci robot accuracy is affected by kinematic and non-kinematic errors such as instrument compliance. The goal is to model these errors, estimate parameters, and improve the accuracy
What Students Will Do:
  Improve the accuracy of the da Vinci Research Kit (dVRK)
Deliverables:
  Software for kinematic calibration (joint offsets)
  Refine developed compliance model
  Real-time accuracy correction based on measured motor currents and compliance model
Size group: 1-2
Skills: C++, Python, robot kinematics, data collection
Mentors: Peter Kazanzides (pkaz@jhu.edu), Anton Deguet (anton.deguet@jhu.edu)

## Slide 2: Accuracy Improvement of the da Vinci Robot
clamp
clamp
RCM
RCM
Joint 2
Joint 1
Measuring instrument compliance