## Slide 1: 3-DOF Manual Wristed Surgical Instrument
Design and laboratory verification of a manual 3-DOF surgical articulated instrument for manipulation of tough-to-reach anatomy for use in robot-assisted surgery.
What Students Will Do:
  Research current solutions used by instrument manufacturers
  Design of manual wristed instrument
  Design and conduct verification tests to determine usefulness
Deliverables:
  Minimum:
    Proof-of-concept prototype, adaptation to Galen Robot
    Documentation of requirements and design
  Expected:
    Verification test report, documentation of phantom design
    Manipulability assessment
  Maximum:
    Assessment of improvement of simulated resection over non-articulated tool
    Bi-manual operation with Galen (make two of these work together)
Size group: Two/Three
Skills: Mechanical Design, CAD, 3D Printing
Mentors: Dr. Taylor; Contacts: David Levi (Galen Robotics)

## Slide 2
The Galen Platform
Technology:
Custom 5-DOF architecture
“Steady Hand” cooperative control
Hand tremor cancellation
Virtual fixtures
Ease of Use:
Same footprint as a person
Accommodates standard instruments
Minimal change to existing surgical workflow
Broad Applications:
ENT, spine, brain, trauma, ….

## Slide 3: Virtual Fixtures for Mastoidectomy
Francis X. Creighton, Christopher R. Razavi, Paul R. Wilkening, Rui Yin, Nicholas Lamaison, Russell H. Taylor, John P. Carey, “Image-Guided Mastoidectomy with the Robotic ENT Microsurgery System (REMS)”, AAO Conference, October 7, 2018.
Engineer with no surgical training
5 identical phantoms
3 plane virtual fixture
Mean time to completion: 221 +/- 35 seconds
Antrum successfully entered with preservation of critical structures in 5/5 (100%) of cases
Conclusion: Virtual fixtures can be implemented to allow a novice surgeon to successfully perform REMS-assisted mastoidectomy with preservation of vital structures.

## Slide 4: Tool Interfaces
Modular adapter
Probe
Surgical cutters
Endoscope
Forceps
Tweezers
Specialized
  Stapedotomy tool
  Laser alignment
  Optical tracking
  Etc.