## Slide 1: Evaluation of Various Sensing Modalities for Accurate Measurement of Neck Flexion Angle during Thyroid and Ear Surgery
Poor surgical ergonomics is one of the leading cause of surgeon disability
  90% of surgeons have reported at least one symptom of ergonomic injury
  94% of surgical residents have musculoskeletal pain
  23% have developed chronic injury
  Back pain most commong

## Slide 2: Evaluation of Various Sensing Modalities for Accurate Measurement of Neck Flexion Angle during Thyroid and Ear Surgery
Goal
To investigate and compare postural ergonomics of surgeons during two different surgical scenarios:
Ear Surgery: Traditional case (looking through microscopes) Endoscopic case (looking at monitor)
Thyroid Surgery: Traditional case (standing over patient) Laparoscopic Endoscopic (looking straight
  at a monitor)

## Slide 3: What Students Will Do
Investigating the possibility of accurate tracking of neck flexion angle using two IMUs
  Processing signals from two IMUs to extract neck flexion angle
  Collecting ground truth data using other sensing modalities (e.g., optical tracker or EM tracker) for calibration and validation purposes
Evaluating and comparing tracking accuracies achieved by IMUs vs. Kinect sensor vs. external tracker
Using and evaluating the developed system in
  Phantom studies
  IRB approved study in the OR

## Slide 4
Deliverables:
Minimum: Developing prototype system with two IMUs, together with external ground truth system (e.g., EM tracker or optical tracker)
Expected: Validation of the system against ground truth; comparison against Kinect data
Maximum: Experimental evaluation in surgical setting (phantoms and/or actual surgery)
Group Size: 1-2
Skills:
Programming skills such as C++ and Python/MATLAB
Knowledge of signal processing
Knowledge of sensor fusion and Kalman filter is a plus
Mentors: Dr. Mahya Shahbazi, Dr. Russell Taylor, Dr. Francis Creighton, Dr. Chris Razavi
Contact: mahya.sh@jhu.edu, rht@jhu.edu, francis.creighton@jhmi.edu, crazavi1@jhmi.edu