## Slide 1: Background Reading Presentation Photoacoustic Image Based Intraoperative Surgical Guidance System in da Vinci Robot System
Team Members: Zijian Wu, Shuojue Yang
Mentors: Hyunwoo Song, Dr. Hamid Moradi, Dr. Emad M. Boctor
04.26.2022

## Slide 2
Goal:
To develop a photoacoustic image based intra-operative surgical guidance system in da Vinci robot system.
Key Component:
Registration of the fluorescent (FL) image with respect to the photoacoustic (PA) image.
Approach used for photoacoustic effect based imaging.
Project Overview

## Slide 3
Paper Selection
[1] Alexis Cheng, Hyun Jae Kang, Haichong K. Zhang, Russell H. Taylor, Emad M. Boctor, "Ultrasound to video registration using a bi-plane transrectal probe with photoacoustic markers," Proc. SPIE 9786, Medical Imaging 2016: Image-Guided Procedures, Robotic Interventions, and Modeling, 97860J (24 March 2016);

## Slide 4: Why We Choose This Paper?
Contribution of this paper
- Extension of a photoacoustic-based tracking method for use with bi-plane TRUS
- Experimentation on phantoms to validate this extended tracking method
Relevance to Our Project
- Previous publication of the nerve imaging project
- Identical clinical motivation
- Similar technical approach (PA virtual marker)
- Conventional registration workflow
Paper Selection

## Slide 5
Photoacoustic effect in Photoacoustic (PA) image
  Laser spot has a substantial impact in US image
  Non-physical markers for registration and location
  Avoid EM field distortion, line-of-sight restrictions, complexity of surgical setting...
Background
Cheng, 2017

## Slide 6: Video & Ultrasound Registration Workfolow
Technical Details

## Slide 7: Active Point Localization with a Transrectal Transducer (TRUS)
Technical Details
Bi-plane Transducer
Localizing active point out of the field of view

## Slide 8: Active Point Localization
Technical Details
Beamforming Scenario
Unknown
Known shortest
Known position along lateral axis
Intersection of two circles

## Slide 9: Active Point Localization
Technical Details
Pre-Beamforming Scenario
Unknown shortest
Optimization problem

## Slide 10
Pros
- Ultrasound elements are no longer restricted to a single plane
- Relative low error compared with convex array
Cons:
- Lengthy time to fire and generate the sequential PA spots
- Difficulity in finding correspondence between a single PA marker seen in each transducer [2]
Critical Review
[2] Alexis Cheng. Developing Ultrasound-Guided Intervention Technologies Enabled by Sensing Active Acoustic and Photoacoustic Point Sources. PhD thesis, Johns Hopkins University, 2017.

## Slide 11
References
[1] Alexis Cheng, Hyun Jae Kang, Haichong K. Zhang, Russell H. Taylor, Emad M. Boctor, "Ultrasound to video registration using a bi-plane transrectal probe with photoacoustic markers," Proc. SPIE 9786, Medical Imaging 2016: Image-Guided Procedures, Robotic Interventions, and Modeling, 97860J (24 March 2016);
[2] Alexis Cheng. Developing Ultrasound-Guided Intervention Technologies Enabled by Sensing Active Acoustic and Photoacoustic Point Sources. PhD thesis, Johns Hopkins University, 2017.

## Slide 12: Thank you!