## Slide 1: Design and Control of a Continuum Wire Manipulator (CWM) for Minimally-Invasive Surgery (Project 2)
Mentor
David Usevitch, Ph.D.
Iulian Iordachita, Ph.D.
Student
Shuyuan Wang
CIS II Spring 2023 601.656 Copyright ©

## Slide 2: Motivation
Continuum Robot
CIS II Spring 2023 601.656 Copyright ©
Extra Flexible
Elaborate
Retinal Surgery
Retinal Degenerative Diseases
  incurable blindness
  affect 200M people
Subretinal Injection
  deliver effective gene therapy pharmaceuticals

## Slide 3: Applications
CIS II Spring 2023 601.656 Copyright ©
Subretinal injection
  minimal access
  between scleral and choroidal layers
  average eye diameter 22-25 mm
  avoid puncture of retinal
Potential
  effective minimally-invasive tools
  small actuated continuum wire

## Slide 4: Design
End effector
4 DoF
Easy to curve
Easy to slide
Material test
CIS II Spring 2023 601.656 Copyright ©
Rotation motor
Maxon
Gear box and encoders
Linear actuator
Actuonix PQ12
Stepper screw combo
Motion Controller

## Slide 5: Control
Low-level control
Interact with the physical process
PID for individual motor control
Galil or other Motor controller Library
CIS II Spring 2023 601.656 Copyright ©
High-level control
Integrate the system
ROS control library
CISST

## Slide 6: Modelling
Novel-designed end effector
Tuning & Constraints
Size
Thickness
Curvature
Size of housing
Number of the control wires
etc.
CIS II Spring 2023 601.656 Copyright ©
L – wire length to motors
w – end width
d– loop
diameter
C – cross-section diameter
h– cross height
r – rotational displacement
s_d – spline definition

## Slide 7: Modelling
Try B-spline
Multiple methods (Lagrange, least-square, etc.)
Flexible (control points)
3D modelling
CIS II Spring 2023 601.656 Copyright ©

## Slide 8: Testing
CIS II Spring 2023 601.656 Copyright ©
C-curve
S-curve
Deye = 22 - 25 mm
Agar gel testing
Standards

## Slide 9: Deliverable
MINIMAL:
  Design CAD Model for new robust CWM actuator
  Select appropriate parts and make wiring plan including housing and motor controller
EXPECTED:
  Construct new robust prototype iteration
  Build basic ROS package for actuator control of all actuators with nitinol end effector attached
IDEAL:
  Develop removable mount hardware for SHER
  Incorporate system in with SHER control system, demonstrate motion with SHER
  Show motion of system inside of agar gel with integrated control, characterizing C-curve and S-curve ability.
CIS II Spring 2023 601.656 Copyright ©
March
April
February

## Slide 10: Dependencies
Hardware
Software
  ROS control library
  CISST
  Mechanical processing method
  etc.
CIS II Spring 2023 601.656 Copyright ©
Name | Description | Price | Quantity
HLW5R-2C7LF | FFC & FPC Connectors | $0.099 | 100
LM5 | Linear rail | $8.40 | 10
Maxon Motor | Rotation motor | TBD | 3
Maxon Gear | Gear box | TBD | 3
Maxon Encoder | Encoder | TBD | 3
PQ12-63-12-P | Linear Actuator | $65.00 | 3
Galil Control Board | Controller | TBD | TBD

## Slide 11: Thank you!
Have FUN!!!
CIS II Spring 2023 601.656 Copyright ©